## Element 1
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL | [10 empty] | Element
| Excavate, get out, remove surplus excavated materials off site | [10 empty] | Item | 1 | 1 | 8 | 0
A | Not exceeding 1.50mm deep, to raft foundation. | M3 | 15 |  | 0 | 17 | 0 | 17 | 0 | 0 | 0 | Item | 8 | 2 | 3 | 1
B | Prime cost rate | M3 | 34.1 | 100 | 0 |  | 0 | 200 | 0 | 0 | 0 | Item | 128 | 4 | 5 | 1
| Supply Rate |  | 10
| Wastage (10.00%) |  | 1
| Labour for Installation |  | 10
| Other Cost |  | 10
| Profit (10.00%) |  | 3.1
C | Not exceeding 1.50mm deep, to ground beam. | M3 | 15 | 1 | 0 | 1 | 0 |  | 0 | 0 | 0 | Item | 16 | 6 | 7 | 1
| Hardcore, consolidated and blinded to receive concrete | [10 empty] | Item | 1 | 1 | 6 | 0
D | 150mm (Consolidated thickness), under raft foundation. | M2 | 8.25 | Rate-Only |  | Rate-Only |  | Rate-Only |  |  |  | Item | 32 | 2 | 3 | 1
E | 150mm (Consolidated thickness), under ground beam. | M2 | 8.25 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Damp proof membrane, well lapped in the joints and sealed with approved pressure sensitive tape, turned up against wall for at least the full thickness of floor (measured nett allow for laps and turn up) | [10 empty] | Item | 1 | 1 | 6 | 0
1/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
Damp proof membrane, well lapped in the joints and sealed with approved pressure sensitive tape, turned up against wall for at least the full thickness of floor (measured nett allow for laps and turn up) (CONT'd)
A | Single layer 0.25mm thick (heavy duty) polythene sheet vapour barrier, under raft foundation. | M2 | 3 | 123 | 0 | 124 | 0 | 123 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Single layer 0.25mm thick (heavy duty) polythene sheet vapour barrier, under ground beam. | M2 | 3 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
1/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Concrete Grade 15, as specified, in, | [10 empty] | Item | 2048 | 1 | 6 | 0
A | 50mm Blinding, under raft foundation. | M2 | 10.85 | 123 | 0 | 124 | 0 | 123 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | 50mm Blinding, under ground beam. | M2 | 10.85 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Vibrated reinforced concrete Grade 30, as specified, in, | [10 empty] | Item | 1 | 1 | 6 | 0
C | Raft foundations. | M3 | 242 | 17 | 0 | 17 | 0 | 17 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
D | Ground beam | M3 | 242 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Hot rolled steel deformed reinforcement (Mild Steel, minimum yield stress 250N per sq. mm) | [10 empty] | Item | 1 | 1 | 4 | 0
E | 6mm Diameter, in ground beam.(Stirrup) | KG | 3.3 | 18 | 0 | 18 | 0 | 18 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Hot rolled steel deformed reinforcement (High yield 60, minimum yield stress 460N per sq. mm) | [10 empty] | Item | 1 | 1 | 8 | 0
F | 20mm Diameter, in ground beam. | KG | 3.3 | 34 | 0 | 34 | 0 | 34 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
G | 12mm Diameter, in ground beam | KG | 3.3 | 24 | 0 | 24 | 0 | 24 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
H | 12mm Diameter, in raft foundation. | KG | 3.3 | 138 | 0 | 143 | 0 | 138 | 0 | 0 | 0 | Item | 2 | 6 | 7 | 1
1/3
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Steel fabric for the reinforcement of concrete to B.S. 4483 : 1969 (M.S 145 : 1973), including 150mm laps, bending fabric and notching round obstructions (measured nett allow for laps) | [10 empty] | Item | 1 | 1 | 4 | 0
A | Reference No. A7 (weight 3.02kg. per sq. m), in raft foundation. | M2 | 12.3 | 134 | 0 | 134 | 0 | 134 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Sawn formwork, to, | [10 empty] | Item | 1 | 1 | 4 | 0
B | Sides of raft foundations. | M2 | 25 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Anti-termite chemical soil treatment all in accordance to manufacturer''s printed instruction and SO.''s approval | [10 empty] | Item | 1 | 1 | 4 | 0
C | Surface of excavation for floors. | M2 | 3 | 123 | 0 | 124 | 0 | 123 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
1/4
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Outside works | [10 empty] | Item | 2048 | 1 | 54 | 0
| Excavate, get out, part return, fill in and ram, remove surplus excavated materials, deposit, spread and level where directed within the site | [10 empty] | Item | 1 | 2 | 7 | 1
A | Oversite excavation, to reduce level, 250mm deep, for apron. | M2 | 3.75 | 15 | 0 | 32 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 3 | 4 | 2
B | Oversite excavation, to reduce level, 250mm deep, for carporch. | M2 | 3.75 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 5 | 6 | 2
| Hardcore, consolidated and blinded to receive concrete | [10 empty] | Item | 1 | 8 | 13 | 1
C | 150mm (Consolidated thickness), under apron. | M2 | 8.25 | 15 | 0 | 32 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 9 | 10 | 2
D | 150mm (Consolidated thickness), under carporch. | M2 | 8.25 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 11 | 12 | 2
1/5
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Damp proof membrane, well lapped in the joints and sealed with approved pressure sensitive tape, turned up against wall for at least the full thickness of floor (measured nett allow for laps and turn up) | [10 empty] | Item | 2048 | 14 | 19 | 1
A | Single layer 0.25mm thick (heavy duty) polythene sheet vapour barrier, under apron. | M2 | 3 | 15 | 0 | 32 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 15 | 16 | 2
B | Single layer 0.25mm thick (heavy duty) polythene sheet vapour barrier, under carporch. | M2 | 3 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 17 | 18 | 2
| Concrete Grade 15, as specified, in, | [10 empty] | Item | 1 | 20 | 25 | 1
C | 50mm Blinding, under apron. | M2 | 10.85 | 15 | 0 | 32 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 21 | 22 | 2
D | 50mm Blinding, under carporch. | M2 | 10.85 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 23 | 24 | 2
| Vibrated reinforced concrete Grade 30, as specified, in, | [10 empty] | Item | 1 | 26 | 31 | 1
E | Apron, laid to falls. | M3 | 242 | 4 | 0 | 8 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 27 | 28 | 2
F | Carporch, laid to falls. | M3 | 242 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 29 | 30 | 2
1/6
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Steel fabric for the reinforcement of concrete to B.S. 4483 : 1969 (M.S 145 : 1973), including 150mm laps, bending fabric and notching round obstructions (measured nett allow for laps) | [10 empty] | Item | 2048 | 32 | 37 | 1
A | Reference No. A7 (weight 3.02kg. per sq. m), in apron. | M2 | 12.3 | 18 | 0 | 35 | 0 | 18 | 0 | 0 | 0 | Item | 2 | 33 | 34 | 2
B | Reference No. A7 (weight 3.02kg. per sq. m), in carporch. | M2 | 12.3 | 15 | 0 | 15 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 35 | 36 | 2
| Sawn formwork, to, | [10 empty] | Item | 1 | 38 | 43 | 1
C | Sides of apron. | M2 | 25 | 5 | 0 | 7 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 39 | 40 | 2
D | Sides of carporch. | M2 | 25 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 41 | 42 | 2
| Anti-termite chemical soil treatment all in accordance to manufacturer''s printed instruction and SO.''s approval | [10 empty] | Item | 1 | 44 | 49 | 1
E | Surface of excavation for apron. | M2 | 3 | 15 | 0 | 35 | 0 | 15 | 0 | 0 | 0 | Item | 2 | 45 | 46 | 2
F | Surface of excavation for carporch. | M2 | 3 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 47 | 48 | 2
1/7
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/1 - WORK BELOW GROUND FLOOR LEVEL (CONT'd) | [10 empty] | Element
| Vibrated precast concrete Grade 20, as specified, in drain, including moulds, hoisting and setting, finished fair where exposed, in, | [10 empty] | Item | 2048 | 50 | 53 | 1
A | Surface water drain 230mm wide (internally) and average 450mm deep to invert, reinforced with a layer of BRC A7, constructed of 225mm Diameter "U" section concrete channel , set onto 50mm base of mass concrete Grade 10, 430mm wide, the drain made up in additional average height of 225mm in concrete above channel, finished where exposed in cement and sand (1:4), 19mm thick, trowelled smooth, including excavation etc. hardcore under base and formwork, with angles, ends, outlets and intersections, all necessary works as per Engineer''s detail. | M | 50 | 18 | 0 | 33 | 0 | 18 | 0 | 0 | 0 | Item | 2 | 51 | 52 | 2
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
1/8

## Element 2
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/2 - FRAME | [10 empty] | Element
| Vibrated Reinforced Concrete Grade 30, as specified in, | [10 empty] | Item | 1 | 1 | 4 | 0
A | Columns. | M3 | 300 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Hot rolled steel reinforcement (Mild steel, minimum yield stress 250N per sq. mm) | [10 empty] | Item | 1 | 1 | 4 | 0
B | 6mm Diameter, in columns (stirrups). | KG | 5 | 7 | 0 | 7 | 0 | 7 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Hot rolled steel deformed reinforcement (High Yield 60, minimum yield stress 460N per sq. mm) | [10 empty] | Item | 1 | 1 | 4 | 0
C | 12mm Diameter, in columns. | KG | 5 | 24 | 0 | 24 | 0 | 24 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Sawn formwork, to, | [10 empty] | Item | 1 | 1 | 4 | 0
D | Sides of columns. | M2 | 33 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
H |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
J |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
2/1

## Element 3
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B 3/3 - INDUSTRIALISED BUILDING SYSTEMS | [10 empty] | Element
| Note: | [10 empty] | Item | 1 | 1 | 14 | 0
| Projek Perumahan Rakyat (PPR) has been designated as a building to be designed and constructed in accordance to the requirements of the Industrialised Building System. The definition of IBS is as defined in the Construction Industry Standard CIS 18:2010 published by the Construction Industry Development Board (CIDB) Malaysia. In order to comply, the IBS Score for the Structural Systems of the building must not be less than 45 points as computed using the same CIS 18:2010 document. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 2 | 3 | 1
| The Contractor is to design, supply and install the superstructure of the building, including the shear wall for bracing elements, support structures for architectural components and any other associated structures as shown in the architectural components and any other associated structures as shown in the drawings and as specified, using IBS. ( Wall system and roof trusses are measured separately ) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 4 | 5 | 1
3/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B 3/3 - INDUSTRIALISED BUILDING SYSTEMS (CONT'd) | [10 empty] | Element
Note: (CONT'd)
| The contractor shall refer to the ''Design and specification for Precast Concrete Components in Compliance to IBS Requirements'' documents as attached in the Specification in all IBS works under this contract. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 6 | 7 | 1
| All precast concrete components that form the whole or part of the building superstructure shall be manufactured by competent precast concrete product manufacturers. The competent manufacturers shall be registered with JKR beofre they are allowed to manufacture the components for the contractor. These registered competent manufacturers shall be called Registered IBS System Providers. The Contractor shall not be allowed to manufacturer the components himself unless he is one of the listed Registered IBS System provider. The Contrcator shall engage one of the RISP as listed in the attchement of the instruction to Tenderers. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 8 | 9 | 1
3/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B 3/3 - INDUSTRIALISED BUILDING SYSTEMS (CONT'd) | [10 empty] | Element
Note: (CONT'd)
| Non-precast concrete components (including but not limited to steel, clay bricks, timber and cast in-situ concrete components) that are also required to form part of the superstructure shall be allowed to be used in the works. The Contractors shall engage the services of the same designer for IBS in the manufacturing, fabricating or constructing these components. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 10 | 11 | 1
A | After the issuance of the Letter of Award, the Contractor shall not be allowed to change the RISP that has been offered by the contractor at Tender Stage |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 2 | 12 | 13 | 1
3/3
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B 3/3 - INDUSTRIALISED BUILDING SYSTEMS (CONT'd) | [10 empty] | Element
| (Contractor''s proposed design) | [10 empty] | Item | 2048 | 1 | 4 | 0
A | Design, supply, load, transport, unload, handle and hoist components of the superstructure (such as columns, beams, roof beams, floor slabs, staircase, shear walls,gutter, roof slabs and stiffeners) to required floor levels from ground level to the roof level including placing in position, additional reinforcements, provisions of ties, fixing and bedding, jointing and grouting, temporary formwork, propping and support all strands and additional reinforcement bar, welding if required and insitu concrete infill at joints and topping and other concrete insitu (if any), neoprene buffle, plastic damp proof course, plaster etc. to be integrated into the Government''s Design all as per described and shown in architectural drawings | ITEM | 14000 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 256 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
3/4
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B 3/3 - INDUSTRIALISED BUILDING SYSTEMS (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
3/5

## Element 4
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION | [10 empty] | Element
| Pitch Roof Construction | [10 empty] | Item | 1 | 1 | 16 | 0
| Prefabricated Roof Truss System | [10 empty] | Item | 1 | 2 | 15 | 1
| Notes: | [10 empty] | Item | 1 | 3 | 14 | 2
| i)The Contractor shall design, fabricate and deliver to site and furnish at his expense all the necessary materials, tools, hoist, staging, temporary bracing etc. for the safe and proper erection of the fabricated roof trusses (PRT) complete with rafters, top and bottom chords, bracings and tie-downs, struts, bearers, truss connectors, straps, wall plates, connections, other associated ancillary fixing products and methods and obvious items required for the works to ensure that all items act together as an integral structure that is structurally stable under all the specified combinations of loading conditions, all to the approval of the S.O. (All analysis, design and construction drawings shall be certified by the appointed Professional Engineer (P.E)) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 4 | 5 | 3
4/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
Pitch Roof Construction (CONT'd)
Prefabricated Roof Truss System (CONT'd)
Notes: (CONT'd)
| ii) The design of the PRT roof trusses shall be by an approved System Provider (S.P) by JKR and fabricated by a fabricator as defined and in accordance with either JKR-20601-0186-11-Specification for Prefabricated Cold Formed Steel Roof Trusses or JKR-20600-0020-99-Standard Specification for Prefabricated Timber Roof Truss and Architect''s drawings. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 6 | 7 | 3
4/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
Pitch Roof Construction (CONT'd)
Prefabricated Roof Truss System (CONT'd)
Notes: (CONT'd)
| iii) The Contractor shall note that PRT roof trusses shall be designed to suit the ceiling, the water tank will need to be supported separately, roof coverings, mechanical & electrical (M&E) services and whatever load deem necessary to provide the functional purpose of the building. In the case where the PRT roof trusses are designed at centers which do not suit or facilitate the fixing of the ceiling, the Contractor shall include in his design of the PRT roof trusses for any additional bearers, tie-beams, ceiling joists, etc. required to facilitate the ceiling panels. The Contractor shall also in his design, facilitate the fixing of timber rafters and its components used as an architectural feature along the eaves of the PRT roof trusses. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 8 | 9 | 3
4/3
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
Pitch Roof Construction (CONT'd)
Prefabricated Roof Truss System (CONT'd)
Notes: (CONT'd)
| iv) The Contractor shall ensure that all truss member located on the ducting bracket shall be protected with rubber pad to reduce the vibration caused by ducting. Rod to support ducting shall be installed on web plane member (stonger axis to decrease twisting on truss member). Drilling is strictly prohibited on all truss member. M&E services shall be installed using strap. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 10 | 11 | 3
| v) The Contractor shall note that he shall be solely responsible for the adequacy and the sufficiency of the PRT roof trusses. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 12 | 13 | 3
4/4
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
| Rates to include | [10 empty] | Item | 2048 | 1 | 6 | 0
| Rates for the PRT roof trusses and rafters shall include for all necessary materials, fabricating, delivery to site, hoisting and fixing in position, all fixing accessories including holding down bolt or ram setting, all ancillary item and temporary works for the complete installation of the PRT roof trusses. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 2 | 3 | 1
| Rates for the PRT roof trusses shall also include for design fees, testing for compliance, quality assurance and control and all other necessary cost for patent right design, trademark or name. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 4 | 5 | 1
4/5
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
| PRT Roof Truss System | [10 empty] | Item | 2048 | 1 | 4 | 0
| Design, supply, fabricate and deliver to site including fixing and hoisting approved prefab steel roof trusses (PRT), rafters, chords, bearers, tie-downs and bracings, struts, wall plate, connectors and fixings, straps, other associated ancillary fixing products and other associated works, materials and labour required for the complete installation of the PRT roof trusses to the approval of the S.O |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 2 | 3 | 1
| Hoisting, installing and providing all necessary approved C-purlins, battens, rafters, c-channel,pitching plate, connecting brackets / plates, wall plates, screws / fasteners, bolts, nuts and washer etc. all for the complete installation of the roof framing to receive roof covering (measured separately) including all necessary fixing accessories, connections and required finishes. | [10 empty] | Item | 1 | 1 | 6 | 0
A | Roof (Approximate sloping roof area = 104 m2) | LS | 4992 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Roof (Approximate sloping roof area=110m2) | LS | 5280 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
4/6
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/4 - ROOF CONSTRUCTION (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
4/7

## Element 5
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/5 - ROOF FINISHES AND RAINWATER GOODS | [10 empty] | Element
| Pitch Roof Finishes | [10 empty] | Item | 1 | 1 | 2 | 0
| Roof Tiles | [10 empty] | Item | 1 | 1 | 6 | 0
A | ''Monier'' or other equal and approved interlocking concrete roof tiles in standard colour, laid to a maximum gauge of 342mm, fixed to and including batterns nailed at alternate course. | M2 | 35 | 104 | 0 | 110 | 0 | 104 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | ''Monier'' standard ridge tiles, to match roofing, bedded and pointed with tinted cement and sand (1:3) mortar, including stop ends. | M | 27 | 10 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Galvanised iron 20 gauge, in flashing and accessories, including fixing | [10 empty] | Item | 1 | 1 | 6 | 0
C | Valley gutter, 250mm girth, four times bent, laid on batterns. | M | 15 | 7 | 0 | 7 | 0 | 7 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
D | Wall flashing, 500mm girth, one time bent, dressed over concrete tiles, and chased in brickwall. | M | 15 | 10 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Prepare, prime with mordant solution, one undercoat and two finishing coats oil paint, to, | [10 empty] | Item | 1 | 1 | 4 | 0
E | Galvanised iron flashings. | M2 | 4 | 10 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
5/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/5 - ROOF FINISHES AND RAINWATER GOODS (CONT'd) | [10 empty] | Element
| Fascia and Eaves Finishes | [10 empty] | Item | 2048 | 1 | 2 | 0
| Plain ''UAC Superflex'' or other equal and approved fibre cement non-asbestos sheeting, in 1200 x 600 x 3.2mm thick panels, fixed to and including timber framing, | [10 empty] | Item | 1 | 1 | 4 | 0
A | Eaves boarding. | M2 | 27 | 12 | 0 | 27 | 0 | 12 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Wrot joinery, Grade ''B'', in finishings, | [10 empty] | Item | 1 | 1 | 4 | 0
B | 250 x 25mm hard wood Fascia boards. | M | 9 | 21 | 0 | 32 | 0 | 21 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Prepare, knot, prime stop, one undercoat and two finishing coats gloss enamel paint, to, | [10 empty] | Item | 1 | 1 | 4 | 0
C | 250 x 25mm Timber Fascia | M | 3.7 | 21 | 0 | 32 | 0 | 21 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Prepare, one undercoat alkali resisting primer, and two coats of approved fungus resisting paint, externally, to, | [10 empty] | Item | 1 | 1 | 4 | 0
D | ''UAC Superflex'' eaves boarding. | M2 | 6.5 | 12 | 0 | 27 | 0 | 12 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
5/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/5 - ROOF FINISHES AND RAINWATER GOODS (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
5/3

## Element 6
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS | [10 empty] | Element
| External Walls | [10 empty] | Item | 1 | 1 | 2 | 0
| Brickwork (cement and sand), built in cement and mortar (1:4) | [10 empty] | Item | 1 | 1 | 6 | 0
A | 115mm Thick at Carporch | M2 | 25 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | 115mm Thick at Facade Carporch | M2 | 25 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Brickwork (firebrick), built in cement and mortar (1:4) | [10 empty] | Item | 1 | 1 | 4 | 0
C | 225mm Thick party wall | M2 | 28 | 20 | 0 | 20 | 0 | 11 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Horizontal damp-proof course consisting cement and sand (1:4), 12mm thick, and two layers of bituminous felt, including laps, to, | [10 empty] | Item | 1 | 1 | 4 | 0
D | One brickwall | M | 3 | 8 | 0 | 8 | 0 | 11 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
6/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| External Doors | [10 empty] | Item | 2048 | 1 | 8 | 0
A | Note: The Contractor to note that a 225mm bearing is measured to each end of all lintols, whether or not they abut columns and the description will be held to include for forming connections with columns and for additional reinforcement and formwork (**) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 8 | 2 | 3 | 1
B | 115 x 200mm Lintol, reinforced with 4 Nos. 12mm diameter hot rolled high yields reinforcement bars with 6mm diameter stirrups, at 150mm centres, hooked on ends, finished fair where exposed. (In 8 Nos.) (Provisional) | M | 10 | 10 | 0 | 12 | 0 | 12 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
C | 115 x 250mm Lintol, reinforced with 4 Nos. 12mm diameter hot rolled high yields reinforcement bars with 6mm diameter stirrups, at 150mm centres, hooked on ends, finished fair where exposed. (In 1 Nos.) (Provisional) | M | 30 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 6 | 7 | 1
6/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Approved standard metal door frame of 1.0mm thick, electro-galvanised including assembling, secured with wire, ties, builts into concrete or brickwork and bedded in cement and sand (1:3) mortar, pointed both sides with silicone sealant complete with 3 Nos. of hinges per leaf and all necessary adaptors, all in accordance to manufacturer''s printed instructions . | [10 empty] | Item | 1 | 1 | 6 | 0
A | Opening size 900 x 2100mm high (Type D1). | No. | 102 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Opening size 900 x 2100mm high (Type D3). | No. | 102 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Wrot and frames Grade A timber as described | [10 empty] | Item | 1 | 1 | 4 | 0
C | 38mm thick flush door, overall size 900 x 2100mm, in single leaf, formed with 100 x 25mm stiles, top, intermediate and bottom rails, finished on both sides with 6mm thick plywood, with 38 x 20mm edging all around, all in manufacturer''s detail and Architect''s Drawing.( Type D1). | No. | 200 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
6/3
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Metal Door | [10 empty] | Item | 2048 | 1 | 4 | 0
A | 38mm thick metal door, overall size 900 x 2100mm high, in single leaf, complete with 38x38x4 thick m.s. brace to be tack welded at 150 interval to m.s sheet, 75x50x4 thick m.s sheet to external surface only including latch to Architect''s detail, all to manufacturer''s detail and Architect''s Drawing. (Type D3). | No. | 350 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Supply and fix the following ironmongery to doors. | [10 empty] | Item | 1 | 1 | 4 | 0
B | ST GUCHI - Tubular knobset TL 527 | No. | 70 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
6/4
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| External Windows and Fixed Panel | [10 empty] | Item | 2048 | 1 | 2 | 0
| Vibrated Reinforced Concrete Grade 25, as specified, in, | [10 empty] | Item | 1 | 1 | 4 | 0
A | Concrete coping | M3 | 242 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Hot rolled steel reinforcement (Mild steel, minimum yield stress 250N per sq. mm) | [10 empty] | Item | 1 | 1 | 4 | 0
B | 8mm Diameter, in concrete coping | KG | 3.3 | 25 | 0 | 25 | 0 | 25 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Hot rolled steel reinforcement (High Yield 60, minimum yield stress 460N per sq. mm) | [10 empty] | Item | 1 | 1 | 4 | 0
C | 10mm Diameter, in concrete coping | KG | 3.3 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Sawn formwork, to, | [10 empty] | Item | 1 | 1 | 4 | 0
D | Sides of concrete coping | M2 | 25 | 3 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
6/5
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Supply and install the following aluminium doors, windows and fixed panel in natural anodised finish, 1.0mm thick including assembling, secured with fixing lugs, built into concrete or brickwork and bedded in cement and sand (1:4), pointed both sides with an approved silicone sealant, in accordance with manufacturer''s printed instructions, complete with hinges, peg stays and fasteners, handles and all other ironmongery and accessories, all to Architect''s approval and as specified. | [10 empty] | Item | 1 | 1 | 12 | 0
A | Composite window units, overall size 1800 x 1600mm high, comprising 3 Nos. side hung window panel each size 600 x 1200mm high and 3 Nos. top hung window panel each size 600 x 400mm high, complete with 6mm thick tinted glass, all as per Architect''s Drawing (Type W1 - Living area) | No. | 748.8 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Composite window units, overall size 1200 x 1600mm high, comprising 2 Nos. side hung window panel each size 600 x 1200mm high and 1 Nos. top hung window panel size 1200 x 400mm high, complete with 6mm thick tinted glass, all as per Architect''s Drawing (Type W2 - Master Bedroom and Bedroom 2) | No. | 499.2 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
6/6
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
Supply and install the following aluminium doors, windows and fixed panel in natural anodised finish, 1.0mm thick including assembling, secured with fixing lugs, built into concrete or brickwork and bedded in cement and sand (1:4), pointed both sides with an approved silicone sealant, in accordance with manufacturer''s printed instructions, complete with hinges, peg stays and fasteners, handles and all other ironmongery and accessories, all to Architect''s approval and as specified. (CONT'd)
A | Composite window units, overall size 600 x 1600mm high, comprising 1 No side hung window panel size 600 x 1200mm high and 1 No. top hung window panel size 600 x 400mm high, complete with 6mm thick tinted glass, all as per Architect''s Drawing (Type W3 - Bedroom 3). | No. | 249.6 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 6 | 7 | 1
B | Top hung casement window units, overall size 600 x 600mm high,complete with 6mm thick tinted glass, all as per Architect''s Drawing (Type W4 - Toilet) | No. | 93.6 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 8 | 9 | 1
6/7
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
Supply and install the following aluminium doors, windows and fixed panel in natural anodised finish, 1.0mm thick including assembling, secured with fixing lugs, built into concrete or brickwork and bedded in cement and sand (1:4), pointed both sides with an approved silicone sealant, in accordance with manufacturer''s printed instructions, complete with hinges, peg stays and fasteners, handles and all other ironmongery and accessories, all to Architect''s approval and as specified. (CONT'd)
A | Composite window units, overall size 1000 x 1600mm high, comprising 2 No side hung window each panel size 500 x 1200mm high and 1 No. top hung window panel size 1000 x 400mm high, complete with 6mm thick tinted glass, all as per Architect''s Drawing (Type W5 - Kitchen). | No. | 416 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 10 | 11 | 1
6/8
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/6 - EXTERNAL WALLS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Prepare and apply one coat of mordant solution, one coat of approved primer, one undercoat and one finishing coat of gloss enamel paint externally on metal surfaces of | [10 empty] | Item | 2048 | 1 | 6 | 0
A | Metal door (measured both sides). | M2 | 10 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Metal door frames, exceeding 200mm but not exceeding 300mm wide. | M | 5 | 11 | 0 | 11 | 0 | 11 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Prepare, knot, prime, stop and apply one undercoat and two finishing coats of enamel paint externally on timber surfaces | [10 empty] | Item | 1 | 1 | 4 | 0
C | Flush door (measured both sides). | M2 | 6 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
H |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
6/9

## Element 7
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/7 - PARTITIONS, DOORS AND WINDOWS | [10 empty] | Element
| Partitions | [10 empty] | Item | 1 | 1 | 2 | 0
| Brickwork (fire brick), built in cement and sand mortar (1:4) | [10 empty] | Item | 1 | 1 | 4 | 0
A | 225mm Thick party wall | M2 | 28 | 17 | 0 | 10 | 0 | 10 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Horizontal damp-proof course consisting cement and sand (1:4), 12mm thick, and two layers of bituminous felt, including laps, to, | [10 empty] | Item | 1 | 1 | 4 | 0
B | One brick | M | 3 | 10 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
7/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/7 - PARTITIONS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Internal Doors | [10 empty] | Item | 2048 | 1 | 6 | 0
| <u>Note </u>: The Contractor to note that a 225mm bearing is measured to each end of all lintols, whether or not they abut columns and the description will be held to include for forming connections with columns and for additional reinforcement and formwork. (**) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 4 | 2 | 3 | 1
A | 115 x 150mm Lintol, reinforced with 4 Nos. 12mm diameter hot rolled high yields reinforcement bars with 6mm diameter stirrups, at 150mm centres, hooked on ends, finished fair where exposed. (In 5 Nos.) (Provisional) | M | 30 | 6 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Approved standard metal door frame of 1.0mm thick, electro-galvanised including assembling, secured with wire, ties, builts into concrete or brickwork and bedded in cement and sand (1:3) mortar, pointed both sides with silicone sealant complete with 3 Nos. of hinges per leaf and all necessary adaptors, all in accordance to manufacturer''s printed instructions . | [10 empty] | Item | 1 | 1 | 6 | 0
B | Opening size 900 x 2100mm high (Type D1) | No. | 102 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
C | Opening size 750 x 2100mm high (Type D2) | No. | 99 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
7/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/7 - PARTITIONS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Wrot and frames Grade A timber as described | [10 empty] | Item | 2048 | 1 | 4 | 0
A | 38mm thick flush door, overall size 900 x 2100mm, in single leaf, formed with 100 x 25mm stiles, top, intermediate and bottom rails, finished on both sides with 6mm thick plywood, with 38 x 20mm edging all around, all in manufacturer''s detail and Architect''s Drawing ( Type D1). | No. | 189 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Approved PVC Door with all necessary ironmongeries at both sides and fixing accessories and hung in position on butt hinges all in accordance with the manufacturer''s instructions and recommendations. | [10 empty] | Item | 1 | 1 | 4 | 0
B | PVC door, overall size 750 x 2100mm, in single leaf complete with approved suitable lockset, all to manufacturer''s detail and Architect''s Drawing (Type D2). | No. | 125 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Supply and fix the following ironmongery to doors | [10 empty] | Item | 1 | 1 | 4 | 0
C | ST GUCHI - Tubular knobset TL 527 | No. | 70 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
7/3
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/7 - PARTITIONS, DOORS AND WINDOWS (CONT'd) | [10 empty] | Element
| Prepare and apply one coat of mordant solution, one coat of approved primer, one undercoat and one finishing coat of gloss enamel paint internally on metal surfaces of | [10 empty] | Item | 2048 | 1 | 4 | 0
A | Metal door frames, exceeding 200mm but not exceeding 300mm wide. | M | 5 | 26 | 0 | 26 | 0 | 26 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Prepare, knot, prime, stop and apply one undercoat and two finishing coats of enamel paint internally on timber surfaces | [10 empty] | Item | 1 | 1 | 4 | 0
B | Flush door (measured both sides). | M2 | 6 | 12 | 0 | 12 | 0 | 12 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
7/4

## Element 8
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/8 - EXTERNAL WALL FINISHES | [10 empty] | Element
| Cement and sand (1:3) plaster, not less than 20mm thick, in two coats, including raking out joints of brickwall or hacking concrete surfaces for key on and necessary UPVC outer corner bead/inner corner bead, finished with a wood float, to, | [10 empty] | Item | 1 | 1 | 8 | 0
A | Walls and columns. | M2 | 16 | 46 | 0 | 69 | 0 | 84 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Isolated columns. | M2 | 16 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
C | <u>EXTRA OVER </u> for 15mm x 10mm upvc c-channel groove line fixed to plastered wall, all in accordance with the manufacturer''s specification and instructions | M | 3 | 6 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 8 | 6 | 7 | 1
| Prepare one coat alkali resisting primer sealer and two finishing coats of approved weather resistance acrylic based fungus resisting paint, externally,to, | [10 empty] | Item | 1 | 1 | 8 | 0
D | Walls and columns. | M2 | 10 | 46 | 0 | 69 | 0 | 84 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
E | Isolated columns. | M2 | 10 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
F | <u>EXTRA OVER </u> for 15mm x 10mm upvc c-channel groove line fixed to plastered wall, all in accordance with the manufacturer''s specification and instructions | M | 2 | 6 | 0 | 6 | 0 | 6 | 0 | 0 | 0 | Item | 8 | 6 | 7 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
8/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/8 - EXTERNAL WALL FINISHES (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
8/2

## Element 9
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/9 - INTERNAL WALL FINISHES | [10 empty] | Element
| Approved ''skimcoat'' system applied in approved texture finish including surface preparation of 5mm minimum thickness apply in accordance with the manufacturer''s standard instruction, to, | [10 empty] | Item | 1 | 1 | 4 | 0
A | Walls and columns. | M2 | 6 | 216 | 0 | 216 | 0 | 216 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Cement and sand (1:3) screed, not less than 20mm thick, to receive glazed ceramic wall tiles, to, | [10 empty] | Item | 1 | 1 | 4 | 0
B | Walls and columns. | M2 | 10 | 30 | 0 | 30 | 0 | 30 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| "White Horse Marine Series- GT214" or approved ceramic tiles, 200 x 200mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Kitchen) | [10 empty] | Item | 1 | 1 | 4 | 0
C | Walls and columns. | M2 | 45 | 13 | 0 | 13 | 0 | 13 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| "White Horse Marine Series- GT216" or approved ceramic tiles, 200 x 200mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Bath 1 and 2) | [10 empty] | Item | 1 | 1 | 4 | 0
D | Walls and columns. | M2 | 45 | 17 | 0 | 17 | 0 | 17 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
9/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/9 - INTERNAL WALL FINISHES (CONT'd) | [10 empty] | Element
| Prepare one coat alkali resisting primer sealer and two finishing coats of approved emulsion paint, internally,to, | [10 empty] | Item | 2048 | 1 | 4 | 0
A | Walls and columns. | M2 | 5 | 216 | 0 | 216 | 0 | 216 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
9/2

## Element 10
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/10 - FLOOR FINISHES | [10 empty] | Element
| Cement and sand (1:4) paving, 25mm thick, trowelled smooth, to, | [10 empty] | Item | 1 | 1 | 6 | 0
A | Carporch, laid to falls. | M2 | 16 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Apron | M2 | 16 | 10 | 0 | 23 | 0 | 10 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Cement and sand (1:3) screed, 20mm thick, to receive ceramic tiles, to, | [10 empty] | Item | 1 | 1 | 10 | 0
C | Floors. | M2 | 10 | 62 | 0 | 62 | 0 | 62 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
D | Floors, laid to falls and crossfalls. | M2 | 10 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
E | 150mm Drops | M | 2.5 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 6 | 7 | 1
F | 50mm Drops | M | 1 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 8 | 9 | 1
| "White Horse Bella Series- W30013" or approved ceramic tiles, 300 x 300mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Bedroom 1,2 and 3) | [10 empty] | Item | 1 | 1 | 4 | 0
G | Floors. | M2 | 55 | 31 | 0 | 31 | 0 | 31 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
10/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/10 - FLOOR FINISHES (CONT'd) | [10 empty] | Element
| "White Horse Bella Series- W30013" or approved ceramic tiles, 300 x 300mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Living and Dining) | [10 empty] | Item | 2048 | 1 | 6 | 0
A | Floors. | M2 | 55 | 23 | 0 | 23 | 0 | 23 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | 150mm Drops | M | 9 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| "White Horse Marine Series- GT213" or approved non-slip ceramic tiles, 200 x 200mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Kitchen) | [10 empty] | Item | 1 | 1 | 6 | 0
C | Floors. | M2 | 50 | 8 | 0 | 8 | 0 | 8 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
D | 150mm Drops | M | 8.5 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| "White Horse Marine Series- GT215" or approved non-slip ceramic tiles, 200 x 200mm, in designs, colours and patterns including borders, to be selected by the Architect, to, (Bath 1 and 2) | [10 empty] | Item | 1 | 1 | 6 | 0
E | Floors, laid to falls and crossfalls. | M2 | 50 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
F | 50mm Drops | M | 3 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
10/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/10 - FLOOR FINISHES (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
10/3

## Element 11
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/11 - CEILING FINISHES | [10 empty] | Element
| Suspended Ceilings | [10 empty] | Item | 1 | 1 | 2 | 0
| 9.5mm Thick "Boral Unispan" or other equal and approved concealed (seamless) gypsum plasterboard suspended ceiling system fixed to and including timber framing comprising of 50 x 50mm ceiling spacer and 100 x 50mm ceiling joist, to, | [10 empty] | Item | 1 | 1 | 6 | 0
A | Ceilings | M2 | 32 | 62 | 0 | 62 | 0 | 62 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | <u>Extra for </u> forming 600 x 600mm access opening including any additional framing. | No. | 20 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 8 | 4 | 5 | 1
| Plain ''UAC Superflex'' or other equal and approved fibre cement non-asbestos sheeting, in 1200 x 600 x 3.2mm thick panels, fixed to approved steel suspension system,all as to manufacturer''s instruction and recommendation,to, (Toilet area) | [10 empty] | Item | 1 | 1 | 6 | 0
C | Ceilings. | M2 | 32 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
D | <u>Extra for </u> forming 600 x 600mm access opening including any additional framing. | No. | 15 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 8 | 4 | 5 | 1
| Prepare one coat alkali resisting primer sealer and two finishing coats of approved emulsion paint, internally to, | [10 empty] | Item | 1 | 1 | 6 | 0
E | Concealed (seamless) gypsum plasterboard | M2 | 5 | 62 | 0 | 62 | 0 | 62 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
11/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/11 - CEILING FINISHES (CONT'd) | [10 empty] | Element
Prepare one coat alkali resisting primer sealer and two finishing coats of approved emulsion paint, internally to, (CONT'd)
A | "UAC Superflex" ceilings | M2 | 5 | 5 | 0 | 5 | 0 | 5 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
| Carporch Ceilings | [10 empty] | Item | 1 | 1 | 2 | 0
| Plain ''UAC Superflex'' or other equal and approved fibre cement non-asbestos sheeting, in 1200 x 600 x 3.2mm thick panels, fixed to and including timber framing, | [10 empty] | Item | 1 | 1 | 4 | 0
B | Ceilings | M2 | 32 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Prepare, one undercoat alkali resisting primer, and two coats of approved fungus resisting paint, externally, to, | [10 empty] | Item | 1 | 1 | 4 | 0
C | "UAC Superflex" ceilings | M2 | 5 | 16 | 0 | 16 | 0 | 16 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
H |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
11/2

## Element 12
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/12 - SUNDRIES | [10 empty] | Element
| Water Tank Support | [10 empty] | Item | 1 | 1 | 2 | 0
| Wrot joinery, Grade ''B'' in framed timbers | [10 empty] | Item | 1 | 1 | 4 | 0
A | 16mm Thick water proofed timber boarding fixed to steel support. | M2 | 40 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Mild steel | [10 empty] | Item | 1 | 1 | 4 | 0
B | 50 x 100 x 3.2mm thick rectangular hollow section, fixed to timber joist. (In 3 nos) | M | 50 | 4 | 0 | 4 | 0 | 4 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| W.C Bases | [10 empty] | Item | 1 | 1 | 4 | 0
C | Concrete bases Grade 30, overall size 1000mm x 1000mm x 200mm thick, complete with approved non-slip ceramic tiles at bases, including reinforcement, formwork and all related work as in Architect''s Drawing. | NO | 550 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
D |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
E |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
F |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
H |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
12/1

## Element 13
BILL NO.3 - MULTI TYPES
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/13 - SANITARY FITTINGS & ACCESSORIES | [10 empty] | Element
| Supply and fix the following sanitary Fittings and Accessories including all necessary jointing and connecting to supply, waste, soil and ventilation pipe, all in accordance to manufacturer''s printed instructions. | [10 empty] | Item | 1 | 1 | 24 | 0
A | Potex Melody or other equal and approved close coupled washdown WC ''S'' or ''P'' trap complete with V.C. cistern and fitting (6.0L), pan collar, CF 6LKCP seat and cover. White. | No. | 300 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 2 | 3 | 1
B | Potex Zen2 squatting pan with integral footrest complete with H3 ''S'' or ''P'' trap complete with high level plastic cistern & fittings (6.0L) & PVC flushpipe/bend & rubber spud. White. | No. | 150 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 4 | 5 | 1
C | Potex Citi or other equal and approved wall hung basin set size: 415 x 330 x 180mm complete with back hangers, overflow ring, 1-1/4" PVC plug and chain waste and 1-1/4" PVC bottle trap. White. | No. | 100 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 6 | 7 | 1
D | Potex SH4003 or other equal and approved semi recessed soap holder size: 160 x 160mm. White. | No. | 11 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 8 | 9 | 1
E | Doe DE71 hose bib tap. | No. | 29.4 | 3 | 0 | 3 | 0 | 3 | 0 | 0 | 0 | Item | 2 | 10 | 11 | 1
13/1
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/13 - SANITARY FITTINGS & ACCESSORIES (CONT'd) | [10 empty] | Element
Supply and fix the following sanitary Fittings and Accessories including all necessary jointing and connecting to supply, waste, soil and ventilation pipe, all in accordance to manufacturer''s printed instructions. (CONT'd)
A | Doe Basic DM 73A ball joint shower rose complete with arm & flange (100mm) & Doe Wall planged stopcock . | No. | 90 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 12 | 13 | 1
B | Doe DE 116A Fiesta handle water wall mounted sink tap in cross handle. | No. | 46.2 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 14 | 15 | 1
C | DOE stainless steel sink, single bowl or single drainer, size: 1067 x 460 complete with waste & 1-1/2" PVC bottle trap. | No. | 100 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | Item | 2 | 16 | 17 | 1
D | DOE stainless steel floor trap size: 100 x 100mm. | No. | 9.3 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 18 | 19 | 1
E | Bevelled edge mirror size 600x600mm complete with plywood backing to manufacturer''s detail to S.O approval. | No. | 70 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 20 | 21 | 1
F | Doe QT113 Coral basin tap | No. | 37 | 2 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | Item | 2 | 22 | 23 | 1
| Any other items | [10 empty] | Item | 1 | 1 | 12 | 0
G |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 2 | 3 | 1
H |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 4 | 5 | 1
13/2
Item | Description | Unit | Rate | INTERMEDIATE UNIT |  | CORNER UNIT |  | END UNIT A |  | Total
|  |  |  | Qty | Amount | Qty | Amount | Qty | Amount | Qty | Amount
| Bill No. B.3/13 - SANITARY FITTINGS & ACCESSORIES (CONT'd) | [10 empty] | Element
Any other items (CONT'd)
A |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 6 | 7 | 1
B |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 8 | 9 | 1
C |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Item | 64 | 10 | 11 | 1
13/3