## cover (hidden)
BILL OF QUANTITIES NO. 3
07/1409 -UiTM ARAU, PERLIS

## 3.1
Item |  |  | Unit | Quantity | Rate | RM
Bill No. 3.1
WORK BELOW GROUND FLOOR LEVEL
Excavate oversite, commencing from platform
level
| A. | Not exceeding 250mm, to reduce level. | m3 | 125 | 3.5 | 437.5
Excavate, commencing from reduce level.
| B. | Maximum depth not exceeding 2.00m deep, for | m3 | 188 | 8.5 | 1598
footings.
| C. | Maximum depth not exceeding 2.00m but not | m3 | 554 | 10.5 | 5817
exceeding 4.00 deep, for footings.
| D. | Maximum depth not exceeding 1.00m deep, for | m3 | 469 | 8.5 | 3986.5
ground beams
| E. | Maximum depth not exceeding 1.00m deep, for | m3 | 33 | 8.5 | 280.5
trenches.
Earthfilling materials from selected excavated
materials, filling up.
| F. | Filling to excavation, deposited and consolidated. | m3 | 433 | 12 | 5196
Concrete Grade 15/20, as specified, in,
| G. | Blinding, not exceeding 100mm thick, under | m3 | 19 | 180 | 3420
footings.
| H. | Blinding, not exceeding 100mm thick, under | m3 | 5 | 180 | 900
ground beams
| J. | Blinding, not exceeding 100mm thick, under | m3 | 23 | 180 | 4140
ground floors.
| K. | Blinding, not exceeding 100mm thick, under | m3 | 2 | 180 | 360
trenches.
Disposal off site, including paying all dues
| L. | Excavated materials | m3 | 936 | 3 | 2808
Hardcore, consolidated and blinded to receive
concrete
| M. | 150mm (consolidated thickness), under floor. | m3 | 532 | 9.5 | 5054
|  |  |  | To Collection |  | 33560
PERPUSTAKAAN
08/1409 - UiTM ARAU, PERLIS
3.1/1
Work Below Ground Floor Level (Cont'd)
Damp proof membrane, well lapped in the joints
and sealed with approved pressure sensitive tape,
turned up against wall for at least the full thickness
of floor (measured nett : allow for laps and turn
up)
| A. | Single layer 0.25mm thick polythene vapour | m3 | 532 | 2.6 | 1383.2
barrier, under floor slab.
Vibrated reinforced concrete Grade 35/20, as
specifieed, in,
| B. | Pad footing | m3 | 303 | 229 | 69387
| C. | Column stumps. (Provisional) | m3 | 6 | 229 | 1374
| D. | Ground beams. | m3 | 46 | 229 | 10534
| E. | Trench bases, exceeding 100mm but not | m3 | 5 | 229 | 1145
exceeding 150mm thick.
| F. | Trench walls, exceeding 100mm but not | m3 | 9 | 229 | 2061
exceeding 150mm thick.
| G. | Trench slab, exceeding 100mm but not | m3 | 88 | 229 | 20152
exceeding 150mm thick.
Hot rolled steel reinforcement (Mild steel, minimum
yield stress 250N per sq. mm)
| H. | 10mm Diameter, in ground beams (stirrups) | kg | 1153 | 4 | 4612
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
| J. | 16mm Diameter, in footings. | kg | 18987 | 4 | 75948
| K. | 12mm Diameter, in footings. | kg | 5638 | 4 | 22552
| L. | 10mm Diameter, in footings. | kg | 1132 | 4 | 4528
| M. | 16mm Diameter, in footings (binders). | kg | 181 | 4 | 724
| N. | 10mm Diameter, in footings (binders). | kg | 1352 | 4 | 5408
| P. | 25mm Diameter, in column stumps. (Provisional) | kg | 720 | 4 | 2880
| Q. | 20mm Diameter, in column stumps. (Provisional) | kg | 212 | 4 | 848
| A. | 16mm Diameter, in column stumps. (Provisional) | kg | 682 | 4 | 2728
| B. | 12mm Diameter, in column stumps. (Provisional) | kg | 28 | 4 | 112
| C. | 10mm Diameter, in column stumps. (links) | kg | 506 | 4 | 2024
(Provisional)
| D. | 25mm Diameter, in ground beams | kg | 1869 | 4 | 7476
| E. | 20mm Diameter, in ground beams | kg | 494 | 4 | 1976
| F. | 16mm Diameter, in ground beams | kg | 792 | 4 | 3168
| G. | 12mm Diameter, in ground beams | kg | 1277 | 4 | 5108
Steel fabric for the reinforcement of concrete to
BS 4483: 1969 (MS 145: 1973), including 150mm
laps, bending fabric and notching round
obstruction (measured nett: allow for laps)
| H. | Reference No. A10, (weight 6.16kg per sq. m), in | m2 | 41 | 29.19 | 1196.79
floors
| J. | Reference No. A9, (weight 4.99kg per sq. m), in | m2 | 256 | 23.63 | 6049.28
floors
| K. | Reference No. A8 (weight 3.95kg per sq. m), in | m2 | 330 | 18.8 | 6204
floors
| L. | Reference No. B7 (weight 4.53kg per sq. m), in | m2 | 217 | 21.5 | 4665.5
floors
| M. | Reference No. B6 (weight 3.73kg per sq. m), in | m2 | 314 | 17.68 | 5551.52
floors
| N. | Reference No. A8 (weight 3.95kg per sq. m), in | m2 | 38 | 18.8 | 714.4
trench bases.
| P. | Reference No. B7 (weight 4.53kg per sq. m), in | m2 | 75 | 21.5 | 1612.5
trench wall.
Class F1 formwork finish, to,
| Q. | Sides of column stumps. (Provisional) | m2 | 62 | 26.2 | 1624.4
| R. | Sides of trench walls. | m2 | 150 | 26.2 | 3930
| A. | Sides of pad footings, exceeding 250mm but not | m | 348 | 13.2 | 4593.6
exceeding 500mm high.
| B. | Sides of pad footings, exceeding 500mm but not | m | 32 | 24 | 768
exceeding 1000mm high.
| C. | Sides of ground beams, exceeding 250mm but | m | 2074 | 13.2 | 27376.8
not exceeding 500mm high.
| D. | Sides of ground beams, exceeding 500mm but | m | 424 | 24 | 10176
not exceeding 1000mm high.
Approved anti-termite chemical soil treatment, all
in accordance with the manufacturer's printed
instructions, and to S.O.'s approval with warranty
period of ten (10) years.
| E. | Sides and bottom of excavation for footings, with | m2 | 654 | 5 | 3270
additional treatment to backfill.
| F. | Sides and bottom of ground beams. | m2 | 422 | 5 | 2110
| G. | Surface of excavation for floors. | m2 | 627 | 5 | 3135
Mild steel trench cover
| H. | 6mm Thick chequer plate cover, with 45 x 8mm | m2 | 38 | 150 | 5700
mild steel flat as frame, including cutting, framing
and welding handle for cable trench.
| J. | 25 x 25 x 6mm Angle, in frame for trench cover, | m | 75 | 50 | 3750
secured to concrete with approved galvanised iron
anchored at not less than 600mm centres.
Prepare, prime with solution, one undercoat and
two finishing coats "ICI" gloss enemel paint, to,
| K. | Chequer palte. (both sides measured) | m2 | 77 | 7 | 539
| L. | Mild steel angle, not exceeding 150mm girth. | m | 75 | 1.5 | 112.5
Work Below Ground Floor Level Outside Building
Apron, Porch and Ramps
Excavate oversite, commencing from platform
level.
| A. | Exceeding 250mm but not exceeding 500mm, to | m3 | 48 | 3.5 | 168
reduce level.
Disposal off site, including paying all dues
| B. | Excavated materials | m3 | 48 | 3 | 144
Concrete Grade 15/20, as specified, in,
| C. | Blinding, under aprons not exceeding 100mm | m3 | 3 | 180 | 540
thick.
| D. | Blinding, under porch not exceeding 100mm | m3 | 4 | 180 | 720
thick.
| E. | Blinding, under ramps not exceeding 100mm | m3 | 1 | 180 | 180
thick.
Hardcore, consolidated and blinded to receive
concrete
| F. | 150mm (consolidated thickness), under aprons. | m2 | 68 | 9.5 | 646
| G. | 150mm (consolidated thickness), under porch. | m2 | 79 | 9.5 | 750.5
Vibrated reinforced concrete Grade 25/20, as
specified, in,
| H. | Aprons not exceeding 100mm thick. | m3 | 7 | 200 | 1400
| J. | Porch exceeding 100mm but not exceeding | m3 | 10 | 200 | 2000
150mm thick.
| K. | Extra over aprons, for thickening from 100mm to | m | 90 | 18.32 | 1648.8
250mm, for and everage width of 320mm,
including additional excavation etc, hardcore and
formwork, with angles, ends and intersections.
| L. | Extra over porch, for thickening from 100mm to | m | 27 | 18.32 | 494.64
250mm, for and everage width of 320mm,
including additional excavation etc, hardcore and
formwork, with angles, ends and intersections.
| A. | Ramps, exceeding 100mm but exceeding 150mm | m3 | 217 | 21.5 | 4665.5
thick.
| B. | Ramps kerbs. | m3 | 217 | 21.5 | 4665.5
| C. | Extra labour for forming herring-bone groove line, | m2 | 217 | 21.5 | 4665.5
size 25 x 15mm deep, on concrete surface for
ramps.
Steel fabric for the reinforcement of concrete to
BS 4449: 1969 (MS 145: 1973), including 150mm
laps, bending fabric and notching round
obstructions (measured nett: allow for laps)
| D. | Reference No. A8 (weight 3.95kg per sq. m), in | m2 | 330 | 18.8 | 6204
aprons.
| E. | Reference No. A8 (weight 3.95kg per sq. m), in | m2 | 330 | 18.8 | 6204
porch.
| F. | Reference No. B7 (weight 4.53kg per sq. m), in | m2 | 217 | 21.5 | 4665.5
ramps.
Class F1 formwork finish, to,
| G. | Sides of ramps kerbs. | m2 | 217 | 21.5 | 4665.5
| H. | Edge of aprons, not exceeding 250mm high. | m | 217 | 21.5 | 4665.5
| J. | Edge of porch, not exceeding 250mm high. | m | 217 | 21.5 | 4665.5
| K. | Edge of ramps, not exceeding 250mm high. | m | 217 | 21.5 | 4665.5
Cement and sand (1:4) paving, 20mm thick,
trowelled smooth, to,
| L. | Aprons. | m2 | 217 | 21.5 | 4665.5
| M. | Porch. | m2 | 217 | 21.5 | 4665.5
| N. | Ramps. | m2 | 217 | 21.5 | 4665.5
| P | Sides and top of ramps kerbs. | m2 | 217 | 21.5 | 4665.5
| Q. | Extra for forming groove lines, to ramps. | m2 | 217 | 21.5 | 4665.5
Approved anti-termite chemical soil treatment, all
in accordance with the manufacturer's printed
instructions, and to S.O.'s approval with warranty
period of ten (10) years
| A. | Surface of excavation for apron, porch and ramps. | m3 | 132 | 5 | 660
Surface water drains
Vibrated precast concrete Grade 25/20, as
specified, in drains, including moulds, finished fair
where exposed, in,
| B. | Surface water drain, 230mm wide (internally) and | m | 109 | 65 | 7085
average 450mm deep to invert, constructed of
225mm concrete channel, set into 100mm base
of concrete Grade 25/20 as specified, 600mm
wide, the drain made up in additional average
height of 225mm in concrete or half brick walling
above channel, finished where exposed in cement
and sand (1:4) plaster, trowelled smooth,
including excavation, etc., hardcore under base
and formwork, with angles, ends, outlets and
intersections.
| C. | 75mm Drain cover, 350mm wide, cast in 600mm | m | 9 | 24 | 216
or suitable lengths, reinforced with steel fabric for
the reinforcement of concrete to BS 4483: 1969
(MS 145: 1973), ref. A193 (weight 3.02kg. Per. Sq.
m), notched on both ends, set into, and including
forming, rebates in drains.
|  |  |  | To Collection |  | 7961
PERPUSTAKAAN
08/1409 - UiTM ARAU, PERLIS
3.1/7
WORK BELOW GROUND FLOOR LEVEL
COLLECTION
|  | Page No. 3.1/1 |  |  |  | 33560
|  | Page No. 3.1/2 |  |  |  | #REF!
|  | Page No. 3.1/3 |  |  |  | #REF!
|  | Page No. 3.1/4 |  |  |  | #REF!
|  | Page No. 3.1/5 |  |  |  | #REF!
|  | Page No. 3.1/6 |  |  |  | #REF!
|  | Page No. 3.1/7 |  |  |  | 7961
[5 empty] | RM | #REF!
Bill No. 3.1 - WORK BELOW GROUND FLOOR LEVEL
To Summary
PERPUSTAKAAN
08/1409 - UiTM ARAU, PERLIS
3.1/8

## 3.2
FRAME
Reinforced Concrete Frame
Vibrated reinforced concrete Grade 25, as
specified, in,
A. | Columns. | m3 | 58 | 229 | 13282
B. | Beams. | m3 | 101 | 229 | 23129
C. | Roof beams. | m3 | 50 | 229 | 11450
Hot rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
D. | 10mm Diameter, in beams. (Stirrups) | kg | 4061 | 4 | 16244
E. | 10mm Diameter, in roof beams. (Stirrups) | kg | 1271 | 4 | 5084
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
F. | 25mm diameter, in columns. | kg | 935 | 4 | 3740
G. | 20mm diameter, in columns. | kg | 429 | 4 | 1716
H. | 16mm diameter, in columns. | kg | 6122 | 4 | 24488
J. | 12mm diameter, in columns. | kg | 5484 | 4 | 21936
K. | 10mm diameter, in columns.(Link) | kg | 2303 | 4 | 9212
L. | 25mm diameter, in beams. | kg | 6289 | 4 | 25156
M. | 20mm diameter, in beams. | kg | 2136 | 4 | 8544
N. | 16mm diameter, in beams. | kg | 1888 | 4 | 7552
P. | 12mm diameter, in beams. | kg | 1765 | 4 | 7060
A. | 25mm diameter, in roof beams. | kg | 2585 | 4 | 10340
B. | 20mm diameter, in roof beams. | kg | 152 | 4 | 608
C. | 16mm diameter, in roof beams. | kg | 328 | 4 | 1312
D. | 12mm diameter, in roof beams. | kg | 889 | 4 | 3556
Class F1 formwork finish, to,
E. | Sides of columns. | m2 | 621 | 26.2 | 16270.2
F. | Sides and soffit of beams | m2 | 1010 | 26.2 | 26462
G. | Sides and soffit of roof beams | m2 | 368 | 26.2 | 9641.6

## 3.3
UPPER FLOORS
Reinforced Concrete Floor
Vibrated reinforced concrete Grade 35/20, as
specified, in,
A. | Floors, exceeding 100mm but not exceeding | m3 | 132 | 229 | 30228
150mm thick
B. | Floors, exceeding 150mm but not exceeding | m3 | 105 | 229 | 24045
300mm thick
Steel fabric for the reinforcement of concrete to
BS 4483: 1969 (MS 145: 1973), including round
obstruction (measured nett: allow for laps)
C. | Reference No. A8 (weight 3.95kg per sq. m), in | m2 | 610 | 18.8 | 11468
floors.
D. | Reference No. A9 (weight 4.99kg per sq. m), in | m2 | 641 | 23.63 | 15146.83
floors.
E. | Reference No. A10 (weight 6.16kg per sq. m), in | m2 | 241 | 29.19 | 7034.79
floors.
F. | Reference No. B6 (weight 3.73kg per sq. m), in | m2 | 821 | 17.68 | 14515.28
floors.
G. | Reference No. B7 (weight 4.53kg per sq. m), in | m2 | 846 | 21.5 | 18189
floors.
H. | Reference No. B8 (weight 5.93kg per sq. m), in | m2 | 129 | 28.1 | 3624.9
floors.
J. | Reference No. B9 (weight 6.97kg per sq. m), in | m2 | 10 | 33.05 | 330.5
floors.
K. | Reference No. B10 (weight 8.14kg per sq. m), in | m2 | 8 | 38.6 | 308.8
floors.
L. | Reference No. B11, in floors. | m2 | 7 | 44.57 | 311.99
Class F1 formwork finish, to,
M. | Soffit of floors. | m2 | 1148 | 26.2 | 30077.6

## 3.5
STAIRCASE, STEPS AND RAMP CONSTRUCTION
Reinforced Concrete Staircase
Vibrated reinforced concrete Grade 35/20, as
specified, in,
A. | Staircase. | m3 | 19 | 229 | 4351
B. | Landing beams. | m3 | 1 | 229 | 229
C. | Landing slabs, exceeding 150mm but not | m3 | 5 | 229 | 1145
exceeding 300mm thick.
Hot rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
D. | 10mm Diameter, in landing beams. (Stirrups) | kg | 64 | 4 | 256
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
E. | 8mm Diameter, in staircase. | kg | 263 | 4 | 1052
F. | 10mm Diameter, in staircase. | kg | 2281 | 4 | 9124
G. | 12mm Diameter, in landing beams. | kg | 55 | 4 | 220
H. | 8mm Diameter, in landing slabs. | kg | 137 | 4 | 548
J. | 12mm Diameter, in landing slabs. | kg | 1120 | 4 | 4480
Class F1 formwork finish, to,
K. | Sides and soffit of landing beams. | m2 | 13 | 26.2 | 340.6
L. | Soffit of landing slabs. | m2 | 38 | 26.2 | 995.6
M. | Soffit of staircase, sloping over 30 degrees from | m2 | 100 | 26.2 | 2620
horizontal
N. | Riser, not exceeding 250mm high. | m | 318 | 6.6 | 2098.8
P. | Sides of raking open edge of staircase, exceeding | m | 132 | 13.2 | 1742.4
250mm but not exceeding 500mm high.
Reinforced Concrete Step
Vibrated reinforced concrete Grade 35/20, as
specified, in,
A. | Step | m3 | 6 | 229 | 1374
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
B. | 8mm Diameter, in steps. | kg | 80 | 4 | 320
C. | 12mm Diameter, in steps. | kg | 869 | 4 | 3476
Class F1 formwork finish, to,
D. | Riser, not exceeding 250mm high. | m | 69 | 6.6 | 455.4
E. | Sides of raking open edge of steps, exceeding | m | 1 | 13.2 | 13.2
250mm but not exceeding 500mm high.
Reinforced Concrete Step
Vibrated reinforced concrete Grade 35/20, as
specified, in,
F. | Ramps, exceeding 100mm but not exceeding | m3 | 1 | 229 | 229
1500mm thick.
G. | Extra for ramp, for forming groove lines. | m2 | 6 | 34.35 | 206.1
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
H. | 12mm Diameter, in ramps. | kg | 100 | 4 | 400
Class F1 formwork finish, to,
J. | Edge, not exceeding 250mm high. | m | 4 | 6.6 | 26.4

## 3.6
STRUCTURAL WALLS
Reinforced Concrete Wall
Vibrated reinforced concrete Grade 35/20, as
specified, in,
A. | Lift walls, not exceeding 150mm but not | m3 | 35 | 229 | 8015
exceeding 300mm thick.
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
B. | 12mm diameter, in lift walls. | kg | 4843 | 4 | 19372
Class F1 formwork finish, to,
C. | Sides of lift walls. | m2 | 359 | 26.2 | 9405.8
D. | Edge of lift bases, exceeding 200mm but not | m | 22 | 6.6 | 145.2
exceeding 300mm high.
E. | Extra for forming opening size 150 x 250mm, in | No. | 4 | 2.9 | 11.6
200mm thick concrete walls.
F. | Extra for forming opening size 150 x 450mm, in | No. | 4 | 5 | 20
200mm thick concrete walls.
Approved waterproofing membrane system, in
two coats well lapped (measured nett: allow for
laps), laid strictly in accordance to manufacturer's
specification and instructions, to,
G. | Sides of lift walls top of bases. | m2 | 42 | 28.2 | 1184.4
Miscellaneous
H. | 300mm wide approved waterstop, cast into | m | 10 | 18 | 180
concrete.

## 3.7
ROOF FINISHES AND RAINWATER GOODS
Flat Roof Finishes
Cement and sand (1:3) screed, 20mm thick, to
receive waterproofing, to,
A. | Flat roofs, laid to falls. | m2 | 113 | 12 | 1356
B. | Extra for forming 150 x 25mm deep scupper drain. | m | 36 | 3 | 108
Approved waterproofing membrane, applied in
two coat, well lappped (measured nett: allow for
laps), all as per manufacturer's printed instruction,
to,
C. | Flat roofs. | m2 | 113 | 28.2 | 3186.6
Cement and sand (1:4) paving, 25mm thick
trowelled smooth, to,
D. | Flat roofs, laid to falls. | m2 | 113 | 14 | 1582
E. | Extra for forming 150 x 25mm deep scupper drain. | m | 36 | 3 | 108
Cement and sand (1:5) plaster, not less than
19mm thick, in two coats, trowelled smooth, to,
F. | Sides and top of upstand beams. | m2 | 156 | 16.5 | 2574
G. | Soffit of roofs. | m2 | 34 | 16.5 | 561
Prepare, prime with one coat alkali resisting
primer and two finishing coats "ICI Weatherbond"
acrylic paint, to,
H. | Plastered sides and top of upstand beams. | m2 | 156 | 8 | 1248
J. | Plastered soffit of roof. | m2 | 34 | 8 | 272
Miscellaneous
K. | 150 x 150mm Upvc floor trap grating cover | No. | 8 | 25 | 200
complete with hinge flap and filter, including filling
to opening with non-shrink grout.
Pitch Roof Finishes
Roof Tiles
A. | "Monier Nardica" interlocking concrete roof tiles in | m2 | 749 | 40.5 | 30334.5
colour to be selected by the S.O., secured with
power-self driven screw fixed to and including 50 x
25mm sawn batterns, of Group "B" timber with
preservative.
B. | "Monier" or other equal and approved ridge tiles, | m | 36 | 18 | 648
and secured with "Monier" compact roll as dry fix
method.
C. | "Monier" Universal barge tiles, to match roofing | m | 81 | 20 | 1620
pointed with tinted cement and sand mortar (1:3)
and screwed onto rafters.
Supply and fix approved polycarbonate roofing
using approved system, with approved silicone
sealant and including all necessary fixing
accessories, fixed to and including galvanised iron
framing and support structure, all to
manufacturer's detail and specification, all to
S.O.'s approval
D. | 10mm Thick polycarbonate roofing in colour to | m2 | 198 | 150 | 29700
be selected by the S.O.
"Monier" or other equal and approved dry flashing,
to,
E. | "Monier Wakaflex" dry flashing, 350mm girth | m | 51 | 21 | 1071
twice bent, dressed above concrete roof tiles,
including "Monier Wakastrip" and tucking into
brickwall complete with screwed approved sealant.
Miscellaneous
F. | One layer chicken wire netting, gauge No. 22 of | m2 | 749 | 8 | 5992
19 x 19mm mesh including 150mm laps, laid
under sheeting to pitch roof (measured nett: allow
for laps)
G. | One layer double sided approved reinforced | m2 | 749 | 8 | 5992
aluminium foil insulation sheeting, laid over
purlins, including 150mm laps (measured nett:
allow for laps)
Fascia and Eaves Finishes
Sawn carpentry group 'B' with preservative
A. | 50 x 50mm Wall plates. | m | 151 | 8 | 1208
B. | 50 x 50mm Ceiling joist. | m | 481 | 16.8 | 8080.8
C. | 50 x 50mm Nogging, cut and fitted between ceiling | m | 268 | 9.2 | 2465.6
joist.
D. | Extra for power fixing timbers to concrete or | m | 151 | 18 | 2718
brickwork at not more than 600mm centres.
Wrot joinery, Group 'B', in finishings
E. | 275 x 38mm Fascia board. | m | 129 | 18.5 | 2386.5
F. | 400 x 38mm Barge board. | m | 81 | 25 | 2025
G. | 20 x 10mm Beading splayed. | m | 900 | 6 | 5400
"UAC superflex" or other equal and approved
cement board, in 1200 x 600 x 3.2mm thick
panels, fixed to timber framing (measured
seperately)
H. | Eaves boardings. | m2 | 231 | 37.4 | 8639.4
Prepare, knot, prime, stop, one undercoat and two
finishing coats "ICI" gloss enamel paint, to,
J. | Fascia | m2 | 81 | 6.5 | 526.5
K. | Barge board. | m2 | 71 | 6.5 | 461.5
L. | Beading, not exceeding 150mm girth. | m2 | 749 | 1.5 | 1123.5
Prepare and apply one coat alkali resisting primer
and two coats "ICI" weatherbond acrylic paint, to,
M. | Cement board, eaves boarding. | m2 | 231 | 8 | 1848
Rainwater Goods and Gutter Finishes
Unplasticised P.V.C. rainwater goods to BS 3505,
jointed and fixed in accordance with the
manufacturer's printed instructions, including
short lengths and fixings.
A. | 75mm Diameter, rainwater downpipe, laid on | m | 16 | 18 | 288
hardcore.
B. | 75mm Diameter, rainwater downpipe, fixed to | m | 168 | 18 | 3024
concrete or brickwork.
C. | Extra for bend, on 75mm diameter rainwater | No. | 48 | 25 | 1200
downpipe, including extra joints.
Approved colourbond gauge No. 22 galvanized
iron gutter, complete with all fixing accessories,
all to manufacturer's printed instructions, to,
D. | Trough gutter, 230 x 330mm high, supported on | m | 79 | 32 | 2528
with mild steel bracket at 300mm centres and
secured to timbers.
E. | Extra for stop end on through gutter. | No. | 14 | 22 | 308
F. | Extra for outlet, with nozzle cast on connection to | No. | 14 | 20 | 280
75mm diameter downpipe.
PVC dome grating, to head of rainwater pipe, to,
G. | 75mm Diameter, rainwater dowmpipe. | No. | 16 | 19 | 304
Prepare, prime with one coat alkali resisting
primer and two coats "ICI" weatherbond acrylic
paint, externally, to,
H. | Rainwater downpipe. | m2 | 40 | 8 | 320
Prepare, prime with zinc chromate primer, one
undercoat, and two finishing coats "ICI" gloss
enamel paint, to,
J. | Trough gutter | m2 | 62 | 7.5 | 465

## 3.8
EXTERNAL WALLS, DOORS AND WINDOWS
External Walls
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Stiffeners. (Provisional) | m3 | 1 | 200 | 200
Hot rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
B. | 10mm Diameter, in stiffeners (links) (Provisional) | kg | 106 | 4 | 424
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
C. | 12mm diameter, in stiffeners. (Provisional) | kg | 151 | 4 | 604
Class F1 formwork finish, to,
D. | Sides of stiffeners. (Provisional) | m2 | 16 | 26.2 | 419.2
Brickwork (claybrick), built in cement and sand
mortar (1:4),
E. | One brick (230mm) walling, with reinforcement. | m2 | 271 | 60 | 16260
F. | Half brick (115mm) walling, with reinforcement. | m2 | 594 | 30 | 17820
Horizontal damp-proof course consisting cement
and sand (1:4), 12mm thick and two layers of
bituminous felt, including laps, to,
G. | One brickwalls. | m | 35 | 1.4 | 49
H. | Half brickwalls. | m | 63 | 0.7 | 44.1
Wrot joinery, Group 'A', in finishings,
J. | 16mm Thick timber strip in 100mm width, gable | m2 | 48 | 210 | 10080
end, secured fixed to and including timber
backing.
Prepare, knot, stop, stop, prime, stop, one
undercoat and two finishing coats of "ICI" gloss
enamel paint, to,
K. | Timber strip | m2 | 48 | 6.5 | 312
Miscelleneous
A. | 6mm Diameter, wrought iron bonding tie, 610mm | No. | 720 | 0.2 | 144
long.
External Doors
Vibrated reinforced concrete Grade 25/20, as
specified, in,
B. | Hoods | m3 | 1 | 200 | 200
C. | Lintols | m3 | 2 | 200 | 400
Hott rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
D. | 6mm diameter, in hoods (stirrups). | kg | 1 | 4 | 4
E. | 6mm diameter, in lintols (stirrups). | kg | 21 | 4 | 84
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
F. | 10mm Diameter, in lintols. | kg | 63 | 4 | 252
G. | 10mm Diameter, in hoods. | kg | 9 | 4 | 36
Class F1 formwork finish, to,
H. | Sides and soffit lintols. | m2 | 18 | 26.2 | 471.6
J. | sides and soffit of hoods. | m2 | 1 | 26.2 | 26.2
Supply and install approved metal door frame and
top panels minimum yield strength 300Mpa, in
0.7mm BMT zincalume with coating of 150g/m2,
130mm width, including assembling, secured with
wire ties, built into concrete or brickwork and
bedded in cement and sand (1:3) mortar, pointed
both sides with silicone sealant, complete with all
necessary adaptors, all in accordance to
manufacturer's printed instructions and
specifications, all to S.O.'s approval.
A. | Opening size 900 x 2100mm high. (Type D2) | No. | 1 | 140.76 | 140.76
B. | Opening size 1500 x 2700mm high, comprising | No. | 4 | 231.84 | 927.36
of 1 No. 1500 x 2100mm high door and 1 No.
1500 x 600mm high top panel for fixed glass.
(Type DW 1)
C. | Opening size 1500 x 2700mm high, comprising | No. | 2 | 248.4 | 496.8
of 1 No. 1500 x 2100mm high door and 1 No.
750 x 600mm top panel for fixed glass.
(Type DW 1)
D. | Opening size 1000 x 2700mm high, comprising | No. | 2 | 204.24 | 408.48
of 1 No. 1000 x 2100mm for door and 1 No.
1000 x 600mm top panel for fixed glass.
(Type DW 3)
Supply and install approved hollow core plywood
flush door formed with 125 x 26mm h.w stiles,
top, bottom and intermediate rails, finished
bothsides with 6mm standard plywood with 38 x
12mm dressed h.w capping all round and all as
per Architect's details and specifications, all to
S.O's approval
E. | 38mm Thick door, in single leaf, overall size 900 x | No. | 1 | 190 | 190
2100mm high (Type D2)
Supply and fix mild steel frames fixed glass panel,
complete with fixing accessories, including
assembling, pointed one side with an approved
silicone or sealant, in accordance with the
manufacturer's printed instructions and
specifications, all to S.O.'s approval, (glass
measured separately), to,
A. | Opening size 1500 x 600mm high. (DW 1) | No. | 4 | 115.92 | 463.68
B. | Opening size 750 x 600mm high. (DW 2) | No. | 2 | 74.52 | 149.04
C. | Opening size 1000 x 600mm high. (DW 3) | No. | 2 | 100.24 | 200.48
Wrot joinery, group 'A' timber, in finishings,
D. | 40mm Thick solid panelled door, in double leaves, | No. | 4 | 950 | 3800
overall size 1500 x 2100mm high. (Type DW1)
E. | 40mm Thick solid panelled door, in double leaves, | No. | 2 | 1000 | 2000
overall size 1500 x 2100mm high. (Type DW2)
F. | 40mm Thick solid panelled door, in double leaves, | No. | 2 | 850 | 1700
overall size 1500 x 2100mm high. (Type DW3)
Supply and install the following fibre composite
door and frames, with frames, stiles, rails, etc.
complete with one layer of anti-vermin netting type
22 SWG, externally and all ironmongeries and
fixing accessories to concrete or brickwork, all in
accordance with the manufacturer's printed
instructions and all to S.O.'s approval
G. | Fibre composite door with two (2) hour fire rated, | No. | 16 | 19 | 304
overall size 2400 x 2500mm high, in double
leaves. (Type FD1)
H. | Fibre composite door with two (2) hour fire rated, | m2 | 40 | 8 | 320
overall size 1400 x 2550mm high, in single
leaf. (Type FD2)
Supply and fix the following ironmongery to doors,
all as per manufacturer's printed instructions and
specifications, all to S.O.'s approval.
A. | "TREX R4320 NR" or other equal and approved | Pr. | 24 | 32 | 768
102 x 75 x 2.0mm mild steel silver finish nylon ring
hinges.
B. | "Sure-Loc TA 2807" or other equal and approved | No. | 7 | 29 | 203
entrance cylindrical lockset.
C. | "Ryobi 8800 Series" or other equal and approved | No. | 12 | 87.97 | 1055.64
surface mounted door closer.
D. | "Trex R300FB" or other equal and approved | No. | 6 | 23 | 138
stainless steel flush bolt for bottom flush bolt.
E. | "Trex R150FB" or other equal and approved | No. | 6 | 18 | 108
stainless steel flush bolt for top flush bolt.
F. | Constructions Key | No. | 7 | 34 | 238
G. | Master key (2 individual sets and 1 set master and | No. | 7 | 36 | 252
labelling of lockset)
6mm Clear sheet glass and glazing in aluminium
glazing beads and PVC glazing gaskets.
H. | In panes | m2 | 7 | 56 | 392
Prepare, knot, stop, prime, stop, one undercoat
and two finishing coats "ICI" gloss enamel paint,
to,
J. | Timber Door and flush doors | m2 | 54 | 6.5 | 351
Prepare, prime, with approved zinc chromate
primer, one undercoat and two finishing coats
"ICI" gloss paint, to,
K. | Metal frame, exceeding 150mm but not exceeding | m | 59 | 4 | 236
300mm girth
External Windows
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Lintols | m3 | 17 | 200 | 3400
B. | Hoods. | m3 | 21 | 200 | 4200
C. | Cills. | m3 | 1 | 200 | 200
Hot rolled steel reinforcement (Mild steel minimum
yield stress 250N per sq. mm)
D. | 6mm Diameter, in lintols (stirrups) | kg | 217 | 4 | 868
E. | 6mm Diameter, in hoods (stirrups) | kg | 265 | 4 | 1060
F. | 6mm Diameter, in cills (stirrups) | kg | 8 | 4 | 32
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
G. | 12mm Diameter, lintols. | kg | 844 | 4 | 3376
H. | 12mm Diameter, hoods. | kg | 787 | 4 | 3148
J. | 12mm Diameter, cills. | kg | 87 | 4 | 348
Class F1 formwork finish, to,
K. | Sides and soffit of lintols. | m2 | 183 | 26.2 | 4794.6
L. | Sides and soffit of hoods. | m2 | 193 | 26.2 | 5056.6
M. | Sides and soffit of cills. | m2 | 20 | 26.2 | 524
Supply and fix the following aluminium window
units and frames eith minimum thickness of
1.1mm, in powder coated finish, of approved
manufacturer, complete with transomes, mullions,
fasteners, hinges, stays, handles and other
accessories, including assembling, secured with
fixing lugs built into concrete or brickwork, and
bedded in cement and sand (1:4), pointed one
side with an approved silicone or sealant, in
accordance with the manufacturer's printed
instructions and specifications, all to S.O's
approval and as specified (glass measured
separately)
A. | Composite window unit and frame, overall size | No | 1 | 204 | 204
750 x 1800mm high, comprising 1 No. side hung
panel size 750 x 1200mm high and 1 No. top hung
panel size 750 x 600mm high. (Type W2)
B. | Composite window unit and frame, overall size | No | 14 | 325 | 4550
1200 x 1800mm high, comprising 2 No. side hung
panel size 600 x 1200mm high and 2 No. top hung
panel size 600 x 600mm high. (Type W3)
C. | Composite window unit and frame, overall size | No | 4 | 448 | 1792
1650 x 1800mm high, comprising of 2 Nos. side
hung panel each size 825 x 1200mm high , 2 Nos.
top hung panel each size 825 x 600mm high.
(Type W4)
D. | Composite window unit and frame, overall size | No | 1 | 448 | 448
1760 x 1800mm high, comprising of 2 Nos. side
hung panel each size 880 x 1200mm high , 2 Nos.
top hung panel each size 880 x 600mm high.
(Type W5)
A. | Composite window unit and frame, overall size | No | 2 | 689 | 1378
1760 x 2600mm high, comprising of 2 Nos. equal
side hung panel each size 880 x 1200mm high , 2
Nos. top hung panels each size 880 x 600mm
high and 2 Nos fixed panel each size 880 x
800mm high.(Type W6)
B. | Composite casement window unit fixed glass and | No | 8 | 424 | 3392
frames, overall size 1200 x 2350mm high,
comprising of 2 Nos. equal fixed glass panel each
size 600 x 1150mm high , 2 Nos. 600 x 600mm
high and 2 Nos top hung panel size 600 x 600mm
high.(Type W7)
C. | Composite casement window unit and frames, | No | 8 | 424 | 3392
overall size 1200 x 1750mm high, comprising of 2
Nos. top hung panel each size 600 x 600mm high
, 2 Nos. equal fixed panel each size 600 x
1150mm high.(Type W7a)
D. | Composite casement window unit and frame, | No | 1 | 759 | 759
overall size 4200 x 1200mm high, comprising of
12 Nos. top hung panel each size 700 x 600mm
high (Type W8)
A. | Composite casement window unit and frame, | No | 1 | 1146 | 1146
overall size 2625 x 2900mm high, comprising of 3
Nos. top hung panel each size 875 x 600mm high
and 3 Nos. fixed panel each size 875 x 2300mm
high.(Type W9)
B. | Composite casement window unit and frame, | No | 3 | 1179 | 3537
overall size 2700 x 2900mm high, comprising of 3
Nos. top hung panel each size 900 x 600mm high
and 3 Nos. fixed panel each size 900 x 2300mm
high.(Type W10)
C. | Composite casement window unit and frame, | No | 1 | 1938 | 1938
overall size 5475 x 2350mm high, comprising of 6
Nos. top hung panel each size 900 x 600mm high
and 3 Nos. fixed panel each size 913 x 600mm
high and 6 Nos. side hung panel each size 913 x
1750mm high. (Type W11)
D. | Top hung window unit and frame, overall size | No | 7 | 110 | 770
1200 x 600mm high, comprising of 2 Nos. top
hung panel each size 600 x 600mm high (Type
W12)
E. | Top hung window unit and frame, overall size | No | 1 | 163 | 163
1800 x 600mm high, comprising of 3 Nos. top
hung panel each size 600 x 600mm high (Type
W13)
A. | Composite casement window unit, fixed glass and | No | 7 | 1954 | 13678
frames, unit and frame, overall size 4475 x
2900mm high, comprising of 5 Nos. top hung
panel units each size 825 x 600mm high and 5
Nos. equal fixed glass panel each size 895 x
2300mm high. (Type W14)
B. | Composite casement window unit, fixed glass and | No | 4 | 2326 | 9304
frames, overall size 5325 x 2900mm high,
comprising of 6 Nos. top hung panel units each
size 888 x 600mm high and 6 Nos. fixed glass
panel each size 888 x 2300mm high. (Type W15)
C. | Composite casement window unit, fixed panels | No | 6 | 2391 | 14346
and frames, overall size 5475 x 2900mm high,
comprising of 6 Nos. top hung panel each size
913 x 600mm high and 6 Nos. equal fixed glass
panel each size 875 x 2300mm high. (Type W16)
D. | Composite casement window unit, fixed panels | No | 5 | 2424 | 12120
and frames, overall size 5550 x 2900mm high,
comprising of 6 Nos. top hung panel each size
925 x 600mm high and 6 Nos. equal fixed glass
panel each size 925 x 2300mm high. (Type W17)
A. | Composite casement window unit, fixed panels | No | 3 | 3363 | 10089
and frames, overall size 7700 x 2900mm high,
comprising of 8 Nos. top hung panel each size
963 x 600mm high and 8 Nos. equal fixed glass
panel each size 965 x 2300mm high. (Type W18)
B. | Composite casement window unit, fixed panels | No | 1 | 2391 | 2391
and frames, overall size 5475 x 2900mm high,
comprising of 5 Nos. top hung panel each size
895 x 600mm high and 5 Nos. equal fixed glass
panel each size 895 x 2300mm high. (Type W20)
Supply and install the following fibre composite
louvred window and frames with mullions,
transomes, etc., complete with one layer anti
vermin wire netting type 22 SWG externally and all
necessary fixing accessories to concrete or
brickwork, in accordance with the manufacturer's
printed instructions and all to SO's approval.
C. | Fixed louvred window unit and frame, overall size | No | 2 | 402 | 804
4800 x 600mm high, comprising of 6 Nos. equal
fixed louvred panel each size 825 x 600mm high.
(Type W19)
6mm Thick tinted sheet glass and glazing in
aluminium glazing beads and PVC glazing
gaskets.
D. | In panes. | m2 | 554 | 59 | 32686

## 3.9
PARTITIONS, DOOR AND WINDOW
Partitions
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Stiffeners. (Provisional) | m3 | 1 | 200 | 200
Hot rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
B. | 10mm Diameter, in stiffeners (links) (Provisional) | kg | 85 | 4 | 340
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
C. | 12mm diameter, in stiffeners. (Provisional) | kg | 104 | 4 | 416
Class F1 formwork finish, to,
D. | Sides of stiffeners. (Provisional) | m2 | 13 | 26.2 | 340.6
Brickwork (claybrick), built in cement and sand
mortar (1:4),
E. | One brick (230mm) walling, with reinforcement. | m2 | 269 | 60 | 16140
F. | Half brick (115mm) walling, with reinforcement. | m2 | 913 | 30 | 27390
Supply and install approved toilet cubicle partitions
and door constructed of 10mm thick high pressure
laminate panel with melamine surface, 10mm
thick solic phenolic board door systems, colours
to be selected by the SO, comprising doors,
pilaster, dividing panel and end panel, complete
with hardware and fittings and ironmongeries, all
in accordance with the manufacturer's printed
instructions and to the S.O.'s approval.
G. | Overall size 2000 x 2100 x 2050mm high, | No. | 6 | 3565 | 21390
comprising of 2 Nos. compartment (Two side
abutting brickwall)
Horizontal damp-proof course consisting cement
and sand (1:4), 12mm thick and two layers of
bituminous felt, including laps, to,
A. | One brickwalls. | m | 35 | 1.4 | 49
B. | Half brickwalls. | m | 71 | 0.7 | 49.7
Miscelleneous
C. | 6mm Diameter, wrought iron bonding tie, 610mm | No. | 840 | 0.2 | 168
long.
Internal Doors
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Lintols | m3 | 4 | 200 | 800
Hott rolled steel reinforcement (Mild steel,
minimum yield stress 250N per sq. mm)
B. | 6mm diameter, in lintols (stirrups). | kg | 49 | 4 | 196
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
C. | 10mm Diameter, in lintols. | kg | 293 | 4 | 1172
Class F1 formwork finish, to,
D. | Sides and soffit lintols. | m2 | 56 | 26.2 | 1467.2
Supply and install approved metal door frame and
top panels minimum yield strength 300Mpa, in
0.7mm BMT zincalume with coating of 150g/m2,
130mm width, including assembling, secured with
wire ties, built into concrete or brickwork and
bedded in cement and sand (1:3) mortar, pointed
both sides with silicone sealant, complete with all
necessary adaptors, all in accordance to
manufacturer's printed instructions and
specifications, all to S.O.'s approval.
E. | Opening size 1500 x 2100mm high. (Type D1) | No. | 4 | 157.32 | 629.28
F. | Opening size 900 x 2100mm high. (Type D2) | No. | 25 | 140.76 | 3519
G. | Opening size 1000 x 2100mm high. (Type D3) | No. | 12 | 153.92 | 1847.04
H. | Opening size 1100 x 2100mm high. (Type D4) | No. | 4 | 162.18 | 648.72
J. | Opening size 750 x 2100mm high. (Type D5) | No. | 8 | 136.62 | 1092.96
K. | Opening size 900 x 2100mm high. (Type D6) | No. | 4 | 166.26 | 665.04
L. | Opening size 900 x 2100mm high. (Type D7) | No. | 6 | 166.26 | 997.56
Supply and install approved hollow core plywood
flush door formed with 125 x 26mm h.w stiles,
top, bottom and intermediate rails, finished
bothsides with 6mm standard plywood with 38 x
12mm dressed h.w capping all round and all as
per Architect's details and specifications, all to
S.O's approval
A. | 38mm Thick door, in double leaf, overall size 1500 | No. | 4 | 315 | 1260
x 2100mm high (Type D1)
B. | 38mm Thick door, in single leaf, overall size 900 | No. | 25 | 190 | 4750
x 2100mm high (Type D2)
C. | 38mm Thick door, in single leaf, overall size 1000 | No. | 12 | 210 | 2520
x 2100mm high (Type D3)
D. | 38mm Thick door, in single leaf, overall size 1100 | No. | 4 | 230 | 920
x 2100mm high (Type D4)
E. | 38mm Thick door, in single leaf, overall size 750 | No. | 8 | 160 | 1280
x 2100mm high (Type D5)
F. | 38mm Thick door, in double leaf, overall size 900 | No. | 4 | 190 | 760
x 2100mm high (Type D6)
G. | 38mm Thick door, in single leaf, overall size 900 | No. | 6 | 190 | 1140
x 2100mm high (Type D7)
Supply and fix the following ironmongery to doors,
all as per manufacturer's printed instructions and
specifications, all to S.O.'s approval.
H. | "Trex R320-NR" or other equal and approved | Pr. | 142 | 32 | 4544
102 x 75 x 2.0mm mild steel silver finish nylon
hinge
J. | "Sure-Loc TA 2807" or other equal and approved | No. | 63 | 29 | 1827
entrance cylindrical knob lockset.
A. | Approved stainless steel rebated set. | No. | 8 | 38 | 304
B. | "Ryobi 8800 Series" or other equal and approved | No. | 63 | 87.97 | 5542.11
surface mounted door closer.
C. | "Trex R150FB" or other equal and approved | No. | 8 | 18 | 144
stainless steel flush bolt for top flush bolt.
D. | "Trex R300FB" or other equal and approved | No. | 8 | 23 | 184
stainless steel flush bolt for bottom flush bolt.
E. | Approved door stopper. | No. | 63 | 25 | 1575
F. | Approved stainless steel door selector. | No. | 16 | 32 | 512
G. | Approved stainless steel push pull handle. | No. | 8 | 35 | 280
H. | Construction Key. | No. | 63 | 34 | 2142
J. | Master key ( 2 individual sets and 1 set master | Set | 63 | 36 | 2268
and labelling of lockset).
Prepare, knot, stop, prime, stop, one undercoat
and two finishing coats "ICI" gloss enamel paint, to,
K. | Timber flush doors. | m2 | 252 | 6.5 | 1638
Prepare, prime, with approved zinc chromate
primer, one undercoat and two finishing coats
"ICI" gloss paint, to,
L. | Metal frame, exceeding 150mm but not exceeding | m | 324 | 4 | 1296
300mm girth.
Internal Windows
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Lintols | m3 | 1 | 200 | 200
Hot rolled steel reinforcement (Mild steel minimum
yield stress 250N per sq. mm)
B. | 6mm Diameter, in lintols (stirrups) | kg | 7 | 4 | 28
Hot rolled steel deformed reinforcement (High
yield 60, minimum yield stress 460N per sq. mm)
C. | 10mm Diameter, lintols. | kg | 24 | 4 | 96
Class F1 formwork finish, to,
D. | Sides and soffit of lintols. | m2 | 7 | 26.2 | 183.4
Supply and fix the following aluminium window
units and frames with minimum thickness of
1.1mm, in powder coated finish, of approved
manufacturer, complete with transomes, mullions,
fasteners, hinges, stays, handles and other
accessories, including assembling, secured with
fixing lugs built into concrete or brickwork, and
bedded in cement and sand (1:4), pointed one
side with an approved silicone or sealant, in
accordance with the manufacturer's printed
instructions and specifications, all to S.O's
approval and as specified (glass measured
separately)
E. | Composite casement window unit and frame, | No | 1 | 375 | 375
overall size 1200 x 1800mm high, comprising 2
Nos. top hung panels each size 600 x 1200mm
high and 2 Nos. side hung panel each size 600 x
1200mm high. (Type W3)
F. | Fixed panels and frames, overall size 1500 x | No | 4 | 316 | 1264
1200mm high. (Type W1)
6mm Thick tinted sheet glass and glazing in
aluminium glazing beads and PVC glazing
gaskets.
A. | In panes. | m2 | 9 | 56 | 504

## 3.10
EXTERNAL WALL FINISHES
Cement and sand (1:4) plaster, not less than
19mm thick, in two coats, finished with a wood
float, to,
A. | Walls and columns. | m2 | 1249 | 16.5 | 20608.5
B. | Isolated columns. | m2 | 111 | 16.5 | 1831.5
C. | Sides, soffit and top of hoods. | m2 | 256 | 16.5 | 4224
D. | Columns projection, 400 x 200mm thick. | m | 58 | 3 | 174
E. | Extra for forming 15 x 25mm wide, groove line. | m | 525 | 2 | 1050
F. | Extra for forming 12mm diameter throating. | m | 222 | 2.2 | 488.4
Prepare, prime with one coat alkali resisting
primer and two finishing coats "ICI" weatherbond
acrylic paint, to,
G. | Plastered walls and columns. | m2 | 1249 | 8 | 9992
H. | Plastered isolated columns. | m2 | 111 | 8 | 888
J. | Plastered sides, soffit and top of coping. | m2 | 256 | 8 | 2048
K. | Plastered sides of columns projection. | m2 | 58 | 8 | 464
L. | Extra for forming 15 x 25mm wide, groove lines. | m | 525 | 4 | 2100
M. | Extra for forming 12mm diameter throating. | m | 222 | 4 | 888
N. | Design and paint "TNB LOGO" and "WORDINGS" | No. | 1 | 500 | 500
in approved sizes and colours to plastered wall, all
to S.O's approval.

## 3.11
INTERNAL WALL FINISHES
Cement and sand (1:4) screed, not less than
16mm thick, to receive ceramic tiles, to,
A. | Walls and columns. | m2 | 260 | 12 | 3120
Cement and sand (1:6) plaster, not less than
19mm thick, in two coats, finished with a wood
float, to,
B. | Walls and columns. | m2 | 4124 | 16.5 | 68046
"White Horse" or other equal and approved
ceramic glazed tiles, 200 x 250mm, in designs,
patterns and colours including borders, to be
selected by the SO's, to,
C. | Walls and columns. | m2 | 260 | 56 | 14560
Prepare and apply one coat wall sealer and two
finishing coats "ICI Pentalite" emulsion paint, to,
D. | Plastered walls and columns. | m2 | 4124 | 7 | 28868

## 3.12
FLOOR FINISHES
Cement and sand (1:4) paving,25mm thick
trowelled smooth, to,
A. | Floors | m2 | 316 | 14.5 | 4582
B. | 50mm Riser | m | 34 | 1 | 34
Cement and sand (1:3) screed, 25mm thick, to
receive homogeneous tiles, to,
C. | Floors | m2 | 1570 | 12 | 18840
D. | Floors, laid to falls. | m2 | 122 | 12 | 1464
E. | 50mm Drop | m | 11 | 1 | 11
F. | 100mm Skirting | m | 796 | 2 | 1592
"White Horse" or other equal and approved
polished multi-effect homogeneous tiles, 300 x
300mm, in designs, patterns and colours
including borders, to be selected by the S.O., to,
G. | Floors. | m2 | 1570 | 90 | 141300
H. | 100mm Skirting | m | 796 | 9.3 | 7402.8
"White Horse S3-Series" or other approved
non-slip homogeneous tiles, 200 x 200mm, in
designs, patterns and colours including norders,
to be selected by the SO, to,
J. | Floors, laid to falls. | m2 | 122 | 58 | 7076
K. | 50mm Drops. | m | 11 | 9 | 99
Approved waterproofing system, in two coat, well
lapped (measured nett: allow for laps), laid in
accordance with the manufacturer's specifications
and instructions, to,
L. | Floors, laid to falls. | m2 | 122 | 28.2 | 3440.4
M. | 305mm Skirting | m | 119 | 6.8 | 809.2

## 3.13
STAIRCASE, STEPS, RAMP FINISHES AND BALUSTRADES
Staircase Finishes
Approved skim coat system applied 3mm thick of
approved texture finish including surface
preparation 6mm thick (minimum), as specified,
to,
A. | Sides and soffit of landing beams. | m2 | 8 | 4.2 | 33.6
B. | Sloping soffit of staircases. | m2 | 100 | 4.2 | 420
C. | Soffit of landings | m2 | 39 | 4.2 | 163.8
D. | Raking open edge of staircase 225mm high | m | 70 | 3.9 | 273
extreme.
Cement and sand (1:6) paving, 25mm thick,
trowelled smooth, to,
E. | Landing. | m2 | 24 | 16.5 | 396
F. | 163mm Risers. | m | 92 | 4 | 368
G. | 175mm Risers. | m | 92 | 3 | 276
H. | 255mm Treads. | m | 168 | 4.5 | 756
J. | Extra for 70 x 12mm thick non slip nosing tiles. | m | 185 | 2 | 370
Cement and sand (1:3) screed, 16mm thick, to
received homogenous tiles, to,
K. | Landing. | m2 | 17 | 12 | 204
L. | 163mm Risers. | m | 62 | 4 | 248
M. | 171.42mm Risers. | m | 31 | 3 | 93
N. | 175mm Risers | m | 41 | 3 | 123
P. | 255mm Risers. | m | 120 | 4.5 | 540
Q. | 100mm High skirtings, to landing. | m | 23 | 9 | 207
R. | 100mm High skirtings, to profile of treads and | m | 40 | 9 | 360
riser.
"White Horse" or other equal and approved
polished multi-effect homogeneous tiles, size 300
x 300mm, in design, patterns and colours
including borders, to be selected by S.O., to,
A. | Landing. | m2 | 17 | 90 | 1530
B. | 163mm Risers. | m | 62 | 15 | 930
C. | 171.43mm Risers. | m | 31 | 16 | 496
D. | 175mm Risers | m | 41 | 16 | 656
E. | 255mm Risers. | m | 120 | 23 | 2760
F. | 100mm High skirtings, to landing. | m | 23 | 9.3 | 213.9
G. | 100mm High skirtings, to profile of treads and | m | 40 | 9.3 | 372
riser.
H. | Extra for 70 x 12mm thick non slip nosing tiles. | m | 154 | 1 | 154
Prepare, prime with one coat alkali resisting
primer and two finishing coat emulsion paint, to,
J. | Sides and soffit of landing beams. | m2 | 8 | 7 | 56
K. | Sloping soffit of staircases. | m2 | 100 | 7 | 700
L. | Soffit of landings | m2 | 39 | 7 | 273
M. | Raking open edge of staircase 225mm high | m | 70 | 2 | 140
extreme.
Steps Finishes
Cement and sand (1:3) screed, 16mm thick, to
received homogenous tiles, to,
N. | 175mm Risers | m | 68 | 3 | 204
P. | 255mm Risers. | m | 52 | 4.5 | 234
"White Horse" or other equal and approved
polished multi-effect homogeneous tiles, size 300
x 300mm, in design, patterns and colours
including borders, to be selected by S.O., to,
A. | 175mm Risers | m | 68 | 16 | 1088
B. | 255mm Risers. | m | 52 | 23 | 1196
C. | Extra for 70 x 12mm thick non slip nosing tiles. | m | 68 | 1 | 68
Ramp Finishes
"White Horse" or other equal and approved
polished multi-effect homogeneous tiles, size 300
x 300mm, in design, patterns and colours
including borders, to be selected by S.O., to,
D. | Ramps. | m2 | 6 | 90 | 540
Cement and sand (1:3) screed, 16mm thick, to
received homogenous tiles, to,
E. | Ramps. | m2 | 6 | 12 | 72
Balustrades
Mild steel tubing with welded joints, including short
lengths and the running joints, to,
F. | 50mm Diameter circular hollow section top | m | 9 | 25 | 225
handrails
G. | 50mm Diameter circular hollow section top | m | 71 | 25 | 1775
raking handrails
H. | 50mm Diameter circular hollow section | m | 34 | 17 | 578
intermediate handrails
J. | 50mm Diameter circular hollow section | m | 285 | 17 | 4845
intermediate raking handrails
A. | 50mm Diameter circular hollow section baluster, | No. | 64 | 65 | 4160
900mm high, one end welded to and including
100 x 60 x 4mm thick base plate with raw bolts
cast into concrete and the other end welded to
handrail.
Prepare, prime with zinc chromate primer, one
undercoat, and two finishing coats "ICI" gloss
enamel paint, to,
B. | Mild steel rails, not exceeding 150mm girth. | m | 398 | 4 | 1592
C. | Mild steel balusters, not exceeding 150mm girth. | m | 58 | 4 | 232

## 3.14
CEILING FINISHES
Sawn carpentry, Group 'B' with preservative
A. | 50 x 50mm Wall plates. | m | 362 | 8 | 2896
B. | 50 x 50mm Ceiling joist | m | 1018 | 16.8 | 17102.4
C. | 50 x 50mm Nogging, cut and fitted between | m | 448 | 9.2 | 4121.6
ceiling joist.
D. | Extra for power fixing timbers to concrete or | m | 362 | 18 | 6516
brickwork, at more than 600mm centres.
Wrot joinery, Group 'B' in finishings.
E. | 20 x 10mm Beading, splayed. | m | 1828 | 6 | 10968
Approved softboard, in 1200 x 600 x 10mm thick
panels, set out in pattern to S.O.'s approval fixed
to timber framing (measured separately), to,
F. | Ceilings | m2 | 570 | 32 | 18240
G. | Extra over ceiling, for forming 600mm x 600mm | No. | 8 | 60 | 480
(overall) opening for access opening including
additional framing.
Approved plasterboard, in 1200 x 600 x 10mm
thick panels, set out in pattern to S.O's approval
fixed to timber framing (measured separately), to,
H. | Ceilings | m2 | 9 | 32 | 288
Approved skim coat system applied in 3mm thick
of approved texture finish including surface
preparation 6mm thick (minimum), as specified,
to,
J. | Soffit, sides and soffit of beams. | m2 | 1612 | 4.2 | 6770.4
Prepare and apply one coat and two finishing
coats "ICI Dulux Pentalite" emulsion paint, to,
A. | Softboard ceilings. | m2 | 570 | 7 | 3990
B. | Plastered ceilings. | m2 | 9 | 7 | 63
C. | Soffit, sides and soffit of beams. | m2 | 1612 | 7 | 11284
Prepare, knot, prime, stop, one undercoat and
two finishing coats "ICI" gloss enamel paint, to,
D. | Beading, not exceeding 150mm girth. | m | 1466 | 2.5 | 3665

## 3.15
SUNDRIES
The following in W.C. Bases
Mass concrete Grade 20/20, as specified, in,
A. | Bases, exceeding 150mm but not exceeding | m3 | 1 | 190 | 190
300mm girth.
Class F1 formwork finish, to,
B. | Edge of base, not exceeding 250mm high. | m | 6 | 6.6 | 39.6
Cement and sand (1:3) screed, 20mm thick, to
receive homogeneous tiles, to,
C. | Top of base, to falls and crossfalls. | m2 | 5 | 12 | 60
D. | 200mm Riser. | m | 6 | 3.5 | 21
"White Horse S3-Series" or other equal and
approved anti slip homogeneous tiles, 200mm,
designs, colours and patterns including borders,
to be selected by the S.O., to,
E. | Top of base, to falls and crossfalls. | m2 | 5 | 58 | 290
F. | 200mm Riser. | m | 6 | 11.5 | 69
G. | Extra for coved edge tiles. | m | 4 | 11 | 44
The following in 1 No. Worktop at Pantry
Mass concrete Grade 20/20, as specified, in,
H. | Bases, not exceeding 100mm thick. | m3 | 1 | 190 | 190
Vibrated reinforced concrete Grade 25/20, as
specified, in,
J. | 100mm Worktop. | m2 | 4 | 26.2 | 104.8
Steel fabric for reinforcement of concrete to B.S
4483: 1969 (MS 145: 1973) including 150mm laps,
bending fabric and notching round obstructions
(measured nett: allow for laps)
A. | Reference No. A142 (weight 2.22kg per sq. m), | m2 | 4 | 10.5 | 42
in worktop.
Class F1 formwork finish, to,
B. | Soffit of worktop. | m2 | 4 | 26.2 | 104.8
C. | Edge of base, not exceeding 100mm high. | m | 7 | 6.6 | 46.2
D. | Edge of worktop, not exceeding 100mm high | m | 7 | 6.6 | 46.2
E. | Temporary boxing to form opening for basin. | No. | 1 | 6.6 | 6.6
Cement and sand (1:3) screed, 20mm thick,
receive homogeneous tiles, to,
F. | Worktop including working arround sink. | m2 | 4 | 12 | 48
G. | Edge of base, 100mm high. | m | 7 | 2 | 14
H. | Edge of worktop, 100mm high. | m | 7 | 2 | 14
Cement and sand (1:4) paving, 25mm thick,
trowelled smooth, to,
J. | Base | m2 | 4 | 16.5 | 66
"White Horse" or other equal and approved
homogeneous tiels, 300 x 300mm, in designs,
colours and patterns, including borders to be
selected by the S.O., to,
K. | Worktop including working arround basin. | m2 | 4 | 70 | 280
L. | Edge of base, 100mm high. | m | 7 | 9 | 63
M. | Edge of worktop, 100mm high. | m | 7 | 9 | 63
The following in 2 Nos. Ablution Base at Wudhuk
Lelaki and Wudhuk Perempuan
Mass concrete Grade 20/20, as specified, in,
A. | Kerbs. | m3 | 1 | 190 | 190
Class F1 formwork finish, to,
B. | Edge of kerbs, not exceeding 250mm high. | m | 10 | 6.6 | 66
Cement and sand (1:3) screed, 20mm thick,
receive homogeneous tiles, to,
C. | Sides and top of kerb. | m2 | 4 | 12 | 48
D. | Base of trough, laid to falls and crossfalls. | m2 | 2 | 12 | 24
E. | Extra for scupper drain, 75 x 25mm deep. | m | 3 | 3 | 9
"White Horse S3-Series" or other equal and
approved homogeneous tiles, 200 x 200mm, in
designs, colours and patterns including borders,
to be selected by the S.O., to,
F. | Sides and top of kerb. | m2 | 4 | 56 | 224
G. | Base of trough, laid to falls and crossfalls. | m2 | 2 | 56 | 112
H. | Extra for scupper drain, 75 x 25mm deep. | m | 3 | 25 | 75
Approved waterproofing systems, in two coat,
well lapped (measured separately for laps), laid
in accordance with manufacturer's printed
instruction, to,
J. | Base of trough, laid to falls and crossfalls. | m2 | 2 | 28.2 | 56.4
K. | Sides and top of kerb. | m2 | 4 | 28.2 | 112.8
The following in Lift Motor Room Hoisting Beam
(All provisional)
A. | Notes: The description of each item under this
heading will be held to include for all
labours to end of joists, channels, angles
and the like including splay and bevel
cutting and notching, fillet welds and site
drilling for bolts.
Mild steel
B. | 254 x 254 x 80.3 kg/m Universal beam, welded. | kg | 249 | 5.8 | 1444.2
C. | 16mm plate, welded and fixed to concrete. | kg | 15 | 5.8 | 87
D. | 12mm End plate, welded. | kg | 4 | 5.8 | 23.2
E. | 12mm Diameter Hilti HSL bolts, 80mm long, with | kg | 8 | 50 | 400
nuts and washers, including drilling.
Prepare, prime with zinc chromate primer, one
"ICI" undercoat, and two finishing coats gloss
paint, to,
F. | Metal surfaces generally | t | 0.27 | 11000 | 2970
The following in Plinths (all provisional)
Vibrated reinforced concrete Grade 25/20, as
specified, in,
A. | Plinths | m3 | 3 | 200 | 600
Hot rolled steel deformed reinforcement (Mild
steel, minimum yield stress 250N per sq. mm)
B. | 6mm Diameter, in plinths (stirrups) | kg | 91 | 4 | 364
Hot rolled steel deformed reinforcement (Mild
steel, minimum yield stress 250N per sq. mm)
C. | 12mm Diameter, in plinths. | kg | 185 | 4 | 740
Class F1 formwork finish, to,
D. | Sides of plinth. | m2 | 29 | 26.2 | 759.8
Cement and sand (1:6) plaster, 20mm thick, in
two coats, trowelled smooth, to,
E. | Sides and top of plinth. | m2 | 33 | 16.5 | 544.5
The following in Concrete Kerbs at M&E Rooms
F. | Kerbs. | m3 | 1 | 190 | 190
Class F1 formwork finish, to,
G. | Edge of kerbs, not exceeding 250mm high. | m | 28 | 6.6 | 184.8
Cement and sand (1:4) paving, 25mm thick,
trowelled smooth, to,
H. | Sides and top of kerbs. | m2 | 4 | 14.5 | 58
The following in Cistern Compartment.
Brickwork (claybrick), built in cement and sand
mortar (1:4)
A. | Half brick (115mm) compartment walls. | m2 | 21 | 30 | 630
Cement and sand (1:4) screed 25mm thick, to
receive ceramic tiles, to,
B. | Tops of compartment. | m2 | 3 | 12 | 36
"White Horse" or other equal and approved
ceramic glazed tiles, 200 x 250mm, in designs,
patterns and colours including borders, to be
selected by the S.O's, to,
C. | Tops of compartment. | m2 | 3 | 56 | 168

## 3.16
SANITARY FITTINGS
Sanitary Fittings and Accessories
Supply and fix the following Sanitary Fitting and
Accessories, in colour to S.O.'s selection, with all
fixing brackets including all necessary jointing and
connecting to supply, waste, soil and ventilation
pipe and in accordance with manufacturer's
printed instruction.
A. | "Inax SQ Series C28C Carven" or other equal and | No. | 6 | 888 | 5328
approved white vitreous china washdown pedestal
water closet with 'S' trap complete with concealed
flush valve and internal fittings including matching
plastic seat and cover.
B. | "Inax SQ Series C28C Carven" or other equal and | No. | 3 | 888 | 2664
approved white vitreous china washdown pedestal
water closet with 'S' trap complete with concealed
flush valve and internal fittings including matching
plastic seat and cover.(Handicapped)
C. | "Inax C337S/CF110MPVD Chaz" or other equal | No. | 6 | 350 | 2100
and approved white vitreous china squatting water
closet pan with integral foot rest with 'S' trap
complete with trap, concealed flush valve and
internal fittings including matching plastic seat and
cover.
D. | "Inax L132AG-N" or other equal and approved | No. | 13 | 180 | 2340
white vitreous china wasg hand basin, size 515 x
410mm complete with bright chrome plated DOE
PT30 1/2" pillar tap with Arrowline ABS handle,
plastic bottle trap, including a pair of brackets and
other fixing accessories.
E. | "Inax L132AG-N" or other equal and approved | No. | 3 | 180 | 540
white vitreous china wash hand , size 515 x
410mm complete with bright chrome plated DOE
PT30 1/2" pillar tap with Arrowline ABS handle,
plastic bottle trap, including a pair of brackets and
other fixing accessories. (Handicapped)
F. | Approved grab rail in 'L' shape, overall length | No. | 3 | 281 | 843
1400mm (Handicapped)
G. | Approved hinged support rail. (Handicapped) | No. | 3 | 431 | 1293
A. | "EQ-S12216" bib tap, including extra joints. | No. | 21 | 70 | 1470
B. | "DQ Series H162" or other equal and approved | No. | 9 | 30 | 270
soap dispender.
C. | "Inax H152U" or other equal and approved white | No. | 9 | 30 | 270
vitreous china semi-recessed soap holder, built
into brickwall.
D. | 150 x 150mm Heavy duty PVC grating complete | No. | 18 | 10 | 180
with 100mm diameter hinge flap.
E. | "Inax H41U" or other equal and approved white | No. | 9 | 32 | 288
vitreous china semi-recessed paper holder,
complete with plastic roller, built into brickwall.
F. | Bevelled edge approved first quality polished | No. | 15 | 200 | 3000
plate glass mirror, 600 x 600 x 6mm thick, with
one layer waterproofed paper, fixed on and
including 3mm thick waterproofed plywood
backing fixed with aluminium edging all round with
chrome plated brass screw.